## Cover Page
Survey Number: |  | 106
Survey Date: |  | 2006-06-27
Data Notes:
Due to operator error the CTD was deployed too quickly for stabilization of the DO sensor and often before the instrument’s pump started. This invalidates the DO
data and has an uncertain effect on the fluorescence data. The fluorescence plots display erratic behaviour even in sites where the conductivity and temperature data
is stable. At sites where the pump had not started, the top of the profiles for conductivity and temperature are affected. All profile data is plotted in this report, however,
the DO and fluorescence data has been deleted from the data file. For the remaining CTD profile data, that from sites AYC, BRB, BYC, C1-4, C6, E1, E2, F3, HC, H3 and PC .
is obviously in error and has been deleted from the data file. The CTD data from the remaining sites is acceptable.
The profile data, collected with a Seabird SBE 19 Plus, has been converted to user units by the Seabird software "Seasoft", using conversions and calibrations
provided with the instrument. The data has been corrected for sensor time response and flow delay in accordance with “Seabird Training Handouts, Module 9:
Advanced Data Processing”. The details of this processing is included in "Seabird CTD Data Processing Procedures, Ver. 1" which can be found in the
"Procedures" section of the project report binder.
Profile Data Units
Quantity: | Depth | Temperature | Salinity | Potential Density | Fluorescence (Chl-a) | Dissolved Oxygen
Units: | metres | oC | psu | sigma units | mg/m3 | mg/L
Definitions: | psu | Practical Salinity Units, functionally equivalent to "Parts per Thousand"
| sigma units | Unit of density equal to (ρ-1000), where ρ is density in kg/m3. Example: 25.0 sigma = 1025.0 kg/m3
Sample Site Coordinates (NAD83): | [5 empty] | Data Return:
| Station ID | Latitude | Longitude
|  | oN | oW |  |  | Chemical | Target | Achieved | Percent Return
| A1 | 44.4817 | 63.514 |  |  | 7 sites
| A2 | 44.4933 | 63.4925 |  |  | NH3 | n/a | 0
| A3 | 44.516 | 63.447 |  |  | TSS | n/a | 0
| A4 | 44.5383 | 63.401 |  |  | Total | 0 | 0 | n/a
| A5 | 44.57 | 63.3267
| B1 | 44.5375 | 63.535
| B2 | 44.5493 | 63.5122 |  |  | Bacteria | Target | Achieved
| B3 | 44.5593 | 63.4888 |  |  | 28 sites
| B4 | 44.571 | 63.4662 |  |  | F Coliform | 56 | 56
| B5 | 44.5822 | 63.4433 |  |  | Total | 56 | 56 | 100%
| C1 | 44.5937 | 63.5473
| C2 | 44.5958 | 63.5427
| C3 | 44.5978 | 63.538 |  |  | Profiles | Target | Achieved
| C4 | 44.5988 | 63.5337 |  |  | 31 sites
| C5 | 44.6215 | 63.5223 |  |  | C-T | 31 | 17
| C6 | 44.6237 | 63.5195 |  |  | Dissolved Oxygen | 31 | 0
| D1 | 44.6338 | 63.5607 |  |  | Chlorophyll | 31 | 0
| D2 | 44.6362 | 63.5527 |  |  |  | 93 | 17 | 18.28%
| D3 | 44.6385 | 63.5452
| EE1 | 44.6577 | 63.5765
| EE2 | 44.6593 | 63.572 |  |  | Total data records | 149 | 73 | 48.99%
| EE3 | 44.6612 | 63.5678
| E1 | 44.6755 | 63.6097
| E2 | 44.677 | 63.6093
| E3 | 44.6778 | 63.609
| F1 | 44.674 | 63.6357
| F2 | 44.6817 | 63.6253
| F3 | 44.6855 | 63.6198
| G2 | 44.6932 | 63.642
| H1 | 44.7012 | 63.656
| H2 | 44.7043 | 63.6503
| H3 | 44.707 | 63.6455
| AYC | 44.6367 | 63.6096
| BYC | 44.7234 | 63.6629
| DC | 44.6639 | 63.5592
| DYC | 44.6989 | 63.6152
| SYC | 44.6294 | 63.5254
| RNSYS | 44.6222 | 63.5785
| HC | 44.5707 | 63.5572
| PC | 44.6123 | 63.57
| BRB | 44.6247 | 63.5611
File Description This workbook file contains weekly water quality data collected in Halifax Harbour. The worksheets contain (In order), fecal coliform data, chemistry data (on alternate weeks), and one worksheet per station containing profile data. This sheet contains sample station coordinates, and information on units for the profile data, and a summary of weekly data return. For a summary of this data see the accompanying report file: HHWQMP_report106_060627.doc

## Coliform
Station |  | AYC | AYC | B2 | B2 | BRB | BRB | BYC | BYC | C2 | C2 | C3 | C3 | C6 | C6 | D1 | D1 | D2 | D2 | D3 | D3 | DYC | DYC | E1 | E1 | E2 | E2 | E3 | E3 | EE1 | EE1 | EE2 | EE2 | EE3 | EE3 | F1 | F1 | F2 | F2 | F3 | F3 | G2 | G2 | H1 | H1 | H2 | H2 | H3 | H3 | HC | HC | PC | PC | RNSYS | RNSYS | SYC | SYC | QA/QC1 | QA/QC2 | QA/QC3 | QA/QC4
Depth (M) |  | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 3.5 | 1 | 7 | 1 | 10 | 1 | 10 | 1 | 10 | 1 | 1 | 10
Label |  | AYC-10M | AYC-1M | B2-10M | B2-1M | BRB-10M | BRB-1M | BYC-10M | BYC-1M | C2-10M | C2-1M | C3-10M | C3-1M | C6-10M | C6-1M | D1-10M | D1-1M | D2-10M | D2-1M | D3-10M | D3-1M | DYC-10M | DYC-1M | E1-10M | E1-1M | E2-10M | E2-1M | E3-10M | E3-1M | EE1-10M | EE1-1M | EE2-10M | EE2-1M | EE3-10M | EE3-1M | F1-10M | F1-1M | F2-10M | F2-1M | F3-10M | F3-1M | G2-10M | G2-1M | H1-10M | H1-1M | H2-10M | H2-1M | H3-10M | H3-1M | HC-3.5M | HC-1M | PC-7M | PC-1M | RNSYS-10M | RNSYS-1M | SYC-10M | SYC-1M | QA/QC1 | QA/QC2 | QA/QC3 | QA/QC4
Sampling Date |  | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27 | 2006-06-27
Sampling Time |  | 7:34 | 7:34 | 12:39 | 12:39 | 8:24 | 8:24 | 9:30 | 9:30 | 8:05 | 8:05 | 8:11 | 8:11 | 10:43 | 10:43 | 8:29 | 8:29 | 10:29 | 10:29 | 10:33 | 10:33 | 9:48 | 9:48 | 8:46 | 8:46 | 10:07 | 10:07 | 10:10 | 10:10 | 8:37 | 8:37 | 10:18 | 10:18 | 10:22 | 10:22 | 8:51 | 8:51 | 10:00 | 10:00 | 9:55 | 9:55 | 8:59 | 8:59 | 9:21 | 9:21 | 9:37 | 9:37 | 9:42 | 9:42 | 12:26 | 12:26 | 7:50 | 7:50 | 7:44 | 7:44 | 10:39 | 10:39 | 8:05 | 8:51 | 9:48 | 10:43
Fecal coliform | MPN/100mL | 9 | 390 | ND | 1 | 67 | 1200 | 23 | 350 | 840 | 10 | ND | 460 | 27 | 180 | 1100 |  | 46 | 1900 | 23 | 1100 | 54 | 95 | 1300 | >10000 | 200 | >10000 | 120 | >10000 | 210 |  | 98 |  | 350 |  | 30 | 610 | 130 | 530 | 29 | 82 | 11 | 80 | 5 | 670 | 3 | 250 | 15 | 450 | 2200 | 46 | 4900 | 71 | 68 | 5300 | 27 | 600 | 8 | 640 | 42 | 22
Fecal coliform | MPN/10mL | [15 empty] | 2 | [13 empty] | 840 |  | 340 |  | 540
[58 empty] | C2-10m | F1-1m | DYC-1m | C6- 10m
ND = Not detected
N/A = Not Applicable
RDL = Reportable Detection Limit
QC Batch = Quality Control Batch

## B2
DEPTH | TEMP | DENSITY | SALINITY
0.571 | 10.4927 | 23.383 | 30.53
0.655 | 10.7505 | 23.2088 | 30.3617
0.872 | 11.067 | 22.9961 | 30.1577
1.148 | 11.3494 | 22.7988 | 29.9666
1.442 | 11.4877 | 22.6812 | 29.8463
1.755 | 11.4116 | 22.6829 | 29.8313
2.053 | 11.1275 | 22.7963 | 29.9138
2.351 | 10.7248 | 22.983 | 30.0659
2.643 | 10.3099 | 23.1978 | 30.2533
2.925 | 9.9465 | 23.403 | 30.4408
3.187 | 9.6579 | 23.5776 | 30.6056
3.461 | 9.4428 | 23.7126 | 30.7353
3.734 | 9.2867 | 23.8082 | 30.8267
3.986 | 9.1724 | 23.8744 | 30.8887
4.231 | 9.0863 | 23.923 | 30.934
4.479 | 9.0193 | 23.9615 | 30.9703
4.724 | 8.9664 | 23.9926 | 30.9998
4.954 | 8.9241 | 24.0183 | 31.0244
5.185 | 8.8909 | 24.0411 | 31.0472
5.412 | 8.866 | 24.0659 | 31.074
5.646 | 8.8487 | 24.0988 | 31.1127
5.897 | 8.8385 | 24.1367 | 31.1593
6.166 | 8.834 | 24.166 | 31.1958
6.438 | 8.8319 | 24.1783 | 31.2112
6.693 | 8.8256 | 24.1807 | 31.2129
6.928 | 8.8094 | 24.1829 | 31.2127
7.162 | 8.7832 | 24.1859 | 31.2116
7.409 | 8.7499 | 24.1847 | 31.2035
7.655 | 8.7116 | 24.1778 | 31.1875
7.897 | 8.6694 | 24.1722 | 31.1722
8.166 | 8.6247 | 24.1734 | 31.1653
8.439 | 8.5801 | 24.183 | 31.1692
8.762 | 8.5394 | 24.2016 | 31.1852
9.054 | 8.5044 | 24.2255 | 31.2092
9.321 | 8.4737 | 24.2448 | 31.228
9.547 | 8.4447 | 24.2526 | 31.2326
9.818 | 8.4159 | 24.2571 | 31.2329
10.055 | 8.3872 | 24.2641 | 31.2365
10.304 | 8.359 | 24.2704 | 31.2394
10.583 | 8.332 | 24.2799 | 31.2465
10.861 | 8.3057 | 24.2915 | 31.2563
11.154 | 8.2796 | 24.3005 | 31.263
11.464 | 8.2547 | 24.3149 | 31.2768
11.774 | 8.2311 | 24.3346 | 31.2976
12.095 | 8.2079 | 24.3486 | 31.3111
12.407 | 8.1832 | 24.3572 | 31.3175
12.698 | 8.1534 | 24.3672 | 31.3249
13 | 8.1135 | 24.3824 | 31.337
13.277 | 8.0597 | 24.4065 | 31.358
13.595 | 7.9928 | 24.4423 | 31.3914
13.902 | 7.914 | 24.4818 | 31.4276
14.172 | 7.8196 | 24.506 | 31.4415
14.452 | 7.7053 | 24.5156 | 31.4335
14.79 | 7.5776 | 24.5331 | 31.4334
15.108 | 7.4521 | 24.5658 | 31.4532
15.42 | 7.3377 | 24.6027 | 31.4804
15.747 | 7.2341 | 24.634 | 31.5025
16.072 | 7.1391 | 24.6604 | 31.52
16.39 | 7.0523 | 24.6866 | 31.5388
16.707 | 6.9738 | 24.7157 | 31.5627
17.031 | 6.9024 | 24.7474 | 31.5911
17.347 | 6.8353 | 24.7778 | 31.6187
17.678 | 6.768 | 24.8052 | 31.6424
18.001 | 6.6961 | 24.8339 | 31.6672
18.325 | 6.6141 | 24.8679 | 31.6971
18.649 | 6.5162 | 24.9077 | 31.7319
18.977 | 6.3999 | 24.9535 | 31.7714
19.303 | 6.2702 | 25.0002 | 31.8102
19.631 | 6.1392 | 25.0449 | 31.8465
19.965 | 6.0198 | 25.0917 | 31.8875
20.281 | 5.9202 | 25.1405 | 31.9342
20.608 | 5.8468 | 25.1899 | 31.9856
20.946 | 5.8071 | 25.2513 | 32.0574
21.203 | 5.808 | 25.3197 | 32.1441
21.27 | 5.8443 | 25.3033 | 32.1288

## C5
DEPTH | TEMP | DENSITY | SALINITY
0.432 | 12.294 | 21.0848 | 27.9715
0.493 | 12.3762 | 21.0282 | 27.9175
0.698 | 12.469 | 20.9665 | 27.8596
0.991 | 12.5341 | 20.9234 | 27.8191
1.294 | 12.5263 | 20.9285 | 27.8239
1.632 | 12.42 | 21.0031 | 27.8953
1.957 | 12.216 | 21.1519 | 28.0401
2.29 | 11.9421 | 21.3592 | 28.2447
2.599 | 11.6402 | 21.5953 | 28.481
2.9 | 11.3446 | 21.8338 | 28.7224
3.199 | 11.0729 | 22.0579 | 28.9514
3.506 | 10.8354 | 22.2544 | 29.1527
3.798 | 10.6418 | 22.4109 | 29.3126
4.087 | 10.4972 | 22.5208 | 29.4231
4.374 | 10.3945 | 22.5867 | 29.4861
4.645 | 10.3002 | 22.6315 | 29.524
4.905 | 10.1467 | 22.7016 | 29.5821
5.16 | 9.8867 | 22.8378 | 29.7035
5.404 | 9.5595 | 23.0349 | 29.8904
5.641 | 9.2498 | 23.2459 | 30.0996
5.868 | 9.0057 | 23.4307 | 30.2887
6.101 | 8.831 | 23.5759 | 30.441
6.327 | 8.7117 | 23.6824 | 30.5545
6.559 | 8.6315 | 23.7574 | 30.6353
6.794 | 8.5773 | 23.8111 | 30.6936
7.039 | 8.5399 | 23.8522 | 30.7392
7.282 | 8.5131 | 23.8863 | 30.7777
7.534 | 8.4933 | 23.9147 | 30.8102
7.781 | 8.4786 | 23.9371 | 30.8361
8.031 | 8.4679 | 23.954 | 30.8557
8.283 | 8.4605 | 23.9673 | 30.8713
8.533 | 8.4557 | 23.9797 | 30.8862
8.784 | 8.4526 | 23.9924 | 30.9019
9.031 | 8.4501 | 24.0044 | 30.9167
9.283 | 8.4475 | 24.0137 | 30.9281
9.532 | 8.4448 | 24.0198 | 30.9354
9.783 | 8.4417 | 24.0244 | 30.9406
10.028 | 8.4382 | 24.028 | 30.9446
10.27 | 8.4343 | 24.0323 | 30.9494
10.512 | 8.4298 | 24.0389 | 30.957
10.759 | 8.425 | 24.047 | 30.9664
11.004 | 8.42 | 24.0556 | 30.9764
11.25 | 8.4153 | 24.066 | 30.9889
11.496 | 8.4113 | 24.082 | 31.0086
11.715 | 8.4086 | 24.1048 | 31.0371
11.77 | 8.4061 | 24.1844 | 31.1383

## C6
DEPTH | TEMP | DENSITY | SALINITY
2.682 | 10.9181 | 21.9354 | 28.7601
3.018 | 10.5577 | 22.2367 | 29.0708
3.344 | 10.2317 | 22.5032 | 29.345
3.684 | 9.9527 | 22.7252 | 29.5725
4.007 | 9.7175 | 22.9063 | 29.7572
4.335 | 9.5137 | 23.0563 | 29.9087
4.654 | 9.3346 | 23.1838 | 30.0367
4.982 | 9.1822 | 23.2925 | 30.1461
5.303 | 9.0603 | 23.3845 | 30.2402
5.641 | 8.9669 | 23.4643 | 30.3242
5.958 | 8.8934 | 23.5361 | 30.402
6.286 | 8.8305 | 23.6016 | 30.4737
6.597 | 8.771 | 23.6624 | 30.5401
6.911 | 8.711 | 23.7196 | 30.602
7.217 | 8.6493 | 23.7753 | 30.6614
7.543 | 8.5876 | 23.8296 | 30.7193
7.853 | 8.5284 | 23.88 | 30.7726
8.191 | 8.4739 | 23.9247 | 30.8195
8.505 | 8.4258 | 23.9651 | 30.8621
8.816 | 8.3843 | 24.0013 | 30.9006
9.131 | 8.3487 | 24.0319 | 30.933
9.426 | 8.3179 | 24.0584 | 30.9612
9.767 | 8.2908 | 24.0829 | 30.9875
10.049 | 8.2663 | 24.1048 | 31.0109
10.368 | 8.2435 | 24.1239 | 31.0311
10.681 | 8.2224 | 24.1435 | 31.0522
11.001 | 8.2028 | 24.165 | 31.076
11.303 | 8.1827 | 24.1839 | 31.0965
11.608 | 8.1609 | 24.1973 | 31.1096
11.941 | 8.1383 | 24.2097 | 31.1213
12.256 | 8.1167 | 24.2244 | 31.136
12.583 | 8.0969 | 24.2391 | 31.1512
12.883 | 8.079 | 24.2528 | 31.1654
13.211 | 8.0626 | 24.2667 | 31.1802
13.534 | 8.0471 | 24.2813 | 31.196
13.848 | 8.033 | 24.2971 | 31.2136
14.167 | 8.0205 | 24.3101 | 31.2279
14.487 | 8.0084 | 24.3141 | 31.2308
14.816 | 7.9961 | 24.3138 | 31.2283
15.147 | 7.9847 | 24.3174 | 31.2307
15.473 | 7.9747 | 24.323 | 31.2361
15.799 | 7.9652 | 24.3244 | 31.2362
16.123 | 7.9551 | 24.3247 | 31.2348
16.456 | 7.9443 | 24.3292 | 31.2385
16.79 | 7.9316 | 24.3328 | 31.2409
17.132 | 7.915 | 24.3319 | 31.2366
17.468 | 7.8962 | 24.3308 | 31.2319
17.791 | 7.8792 | 24.334 | 31.233
18.142 | 7.868 | 24.3386 | 31.2368
18.475 | 7.8672 | 24.3409 | 31.2396
18.712 | 7.6555 | 24.4084 | 31.2881

## D1
DEPTH | TEMP | DENSITY | SALINITY
0.551 | 10.8666 | 21.6956 | 28.4406
0.646 | 10.8951 | 21.6511 | 28.3894
0.862 | 10.9133 | 21.6102 | 28.3407
1.125 | 10.8877 | 21.612 | 28.3374
1.421 | 10.795 | 21.6759 | 28.4
1.729 | 10.6361 | 21.7968 | 28.5217
2.031 | 10.4227 | 21.9639 | 28.692
2.336 | 10.1746 | 22.1624 | 28.8956
2.629 | 9.9271 | 22.3655 | 29.1058
2.896 | 9.7143 | 22.5459 | 29.2946
3.183 | 9.5477 | 22.6921 | 29.4489
3.436 | 9.4187 | 22.8074 | 29.5712
3.695 | 9.3108 | 22.9037 | 29.6734
3.953 | 9.2088 | 22.9957 | 29.7714
4.198 | 9.1052 | 23.092 | 29.8746
4.458 | 9.0001 | 23.1934 | 29.9842
4.704 | 8.8986 | 23.2955 | 30.0954
4.938 | 8.8052 | 23.3919 | 30.2009
5.171 | 8.7214 | 23.478 | 30.2951
5.398 | 8.6464 | 23.5533 | 30.3773
5.627 | 8.5792 | 23.6201 | 30.4501
5.869 | 8.5199 | 23.6806 | 30.5163
6.112 | 8.4687 | 23.7346 | 30.5757
6.361 | 8.4251 | 23.7806 | 30.6264
6.611 | 8.3888 | 23.8178 | 30.6672
6.87 | 8.3597 | 23.8468 | 30.6989
7.124 | 8.3375 | 23.8699 | 30.7243
7.379 | 8.3214 | 23.8901 | 30.7471
7.632 | 8.31 | 23.9097 | 30.77
7.881 | 8.3014 | 23.9297 | 30.7939
8.135 | 8.2944 | 23.9481 | 30.8162
8.376 | 8.2884 | 23.9632 | 30.8343
8.627 | 8.283 | 23.9753 | 30.8488
8.877 | 8.2782 | 23.9856 | 30.861
9.125 | 8.2733 | 23.9956 | 30.8729
9.373 | 8.2676 | 24.0067 | 30.886
9.617 | 8.2605 | 24.0194 | 30.9009
9.876 | 8.2517 | 24.0336 | 30.9174
10.133 | 8.2413 | 24.0488 | 30.9349
10.381 | 8.2299 | 24.0643 | 30.9525
10.63 | 8.2185 | 24.0801 | 30.9706
10.886 | 8.2082 | 24.0959 | 30.9888
11.15 | 8.1986 | 24.1109 | 31.0063
11.422 | 8.1879 | 24.1233 | 31.0201
11.698 | 8.174 | 24.1344 | 31.0318
11.978 | 8.154 | 24.1494 | 31.0473
12.269 | 8.1229 | 24.1683 | 31.0657
12.577 | 8.076 | 24.1913 | 31.0866
12.888 | 8.0145 | 24.2235 | 31.1164
13.209 | 7.9452 | 24.2638 | 31.1553
13.535 | 7.8739 | 24.3042 | 31.1941
13.862 | 7.801 | 24.34 | 31.2268
14.191 | 7.7244 | 24.3742 | 31.2568
14.533 | 7.6429 | 24.4116 | 31.2901
14.871 | 7.5561 | 24.4523 | 31.3267
15.205 | 7.4622 | 24.4925 | 31.3616
15.55 | 7.3595 | 24.5314 | 31.3934
15.894 | 7.2504 | 24.5731 | 31.4279
16.243 | 7.1391 | 24.6167 | 31.4645
16.588 | 7.028 | 24.6571 | 31.4971
16.939 | 6.9195 | 24.6967 | 31.5296
17.288 | 6.8168 | 24.7393 | 31.5667
17.64 | 6.7203 | 24.7804 | 31.6032
17.988 | 6.6273 | 24.8168 | 31.6344
18.338 | 6.5354 | 24.8523 | 31.6646
18.686 | 6.4458 | 24.8879 | 31.6956
19.027 | 6.3626 | 24.9223 | 31.7259
19.379 | 6.2924 | 24.9586 | 31.761
19.719 | 6.2418 | 25.0001 | 31.8058
20.063 | 6.2178 | 25.0491 | 31.8641
20.396 | 6.0268 | 25.0429 | 31.8267

## D2
DEPTH | TEMP | DENSITY | SALINITY
0.548 | 12.97 | 20.2376 | 27.0353
0.696 | 12.9093 | 20.2224 | 27.0011
0.951 | 12.7962 | 20.2352 | 26.9908
1.259 | 12.6138 | 20.3141 | 27.0498
1.581 | 12.3391 | 20.4882 | 27.211
1.92 | 11.9609 | 20.7633 | 27.4798
2.266 | 11.5136 | 21.1083 | 27.8247
2.619 | 11.0599 | 21.4683 | 28.1895
2.979 | 10.6405 | 21.805 | 28.5332
3.346 | 10.2632 | 22.1078 | 28.8436
3.706 | 9.927 | 22.3764 | 29.1198
4.069 | 9.6331 | 22.6126 | 29.3639
4.426 | 9.3806 | 22.8206 | 29.5805
4.788 | 9.1661 | 23.0059 | 29.7761
5.15 | 8.9865 | 23.1736 | 29.9562
5.51 | 8.8357 | 23.3309 | 30.1286
5.871 | 8.707 | 23.4838 | 30.2998
6.228 | 8.5986 | 23.6295 | 30.4657
6.59 | 8.5104 | 23.7591 | 30.6147
6.95 | 8.4402 | 23.8665 | 30.7389
7.293 | 8.3836 | 23.9519 | 30.8375
7.657 | 8.3364 | 24.0187 | 30.9139
7.999 | 8.2954 | 24.0703 | 30.9722
8.342 | 8.2585 | 24.1106 | 31.0169
8.689 | 8.2252 | 24.1445 | 31.054
9.037 | 8.1955 | 24.1727 | 31.0846
9.393 | 8.1683 | 24.1944 | 31.1073
9.731 | 8.1431 | 24.2127 | 31.1261
10.078 | 8.1201 | 24.231 | 31.1452
10.407 | 8.1 | 24.2481 | 31.1634
10.746 | 8.0837 | 24.263 | 31.1793
11.076 | 8.0714 | 24.2761 | 31.1938
11.404 | 8.0629 | 24.2882 | 31.2077
11.741 | 8.0571 | 24.3008 | 31.2227
12.063 | 8.0526 | 24.3167 | 31.2422
12.394 | 8.0473 | 24.3376 | 31.2678
12.706 | 8.0386 | 24.3596 | 31.2943
13.031 | 8.0254 | 24.3805 | 31.3186
13.349 | 8.0083 | 24.4019 | 31.3427
13.654 | 7.9876 | 24.4248 | 31.3682
13.948 | 7.9638 | 24.4443 | 31.3888
14.276 | 7.9377 | 24.4539 | 31.3963
14.562 | 7.9095 | 24.4571 | 31.3953
14.886 | 7.878 | 24.4609 | 31.3945
15.203 | 7.8408 | 24.4673 | 31.396
15.492 | 7.7946 | 24.4756 | 31.3984
15.796 | 7.7357 | 24.4885 | 31.4043
16.086 | 7.6636 | 24.5101 | 31.4191
16.386 | 7.5813 | 24.5419 | 31.4452
16.678 | 7.4912 | 24.5773 | 31.4745
16.981 | 7.392 | 24.607 | 31.4952
17.275 | 7.2832 | 24.634 | 31.5108
17.572 | 7.1691 | 24.6669 | 31.5333
17.866 | 7.0561 | 24.7014 | 31.5581
18.165 | 6.9455 | 24.7285 | 31.5742
18.462 | 6.8382 | 24.7521 | 31.5864
18.764 | 6.7371 | 24.7767 | 31.6011
19.056 | 6.6423 | 24.7931 | 31.6066
19.351 | 6.5513 | 24.7992 | 31.5997
19.636 | 6.4652 | 24.8078 | 31.5969
19.951 | 6.388 | 24.8245 | 31.606
20.234 | 6.322 | 24.8471 | 31.6243
20.564 | 6.2675 | 24.8757 | 31.6519
20.848 | 6.2234 | 24.9089 | 31.6873
21.183 | 6.1875 | 24.9408 | 31.722
21.471 | 6.1572 | 24.9655 | 31.7487
21.799 | 6.1306 | 24.9838 | 31.7678
22.095 | 6.1055 | 24.9998 | 31.7842
22.413 | 6.0801 | 25.0157 | 31.8004
22.719 | 6.053 | 25.033 | 31.8182
23.035 | 6.0246 | 25.0524 | 31.8384
23.34 | 5.9969 | 25.0734 | 31.8607
23.656 | 5.9743 | 25.0946 | 31.8843
23.965 | 5.9635 | 25.1177 | 31.9118
24.278 | 5.9736 | 25.1426 | 31.9449
24.593 | 5.8768 | 25.4458 | 32.314

## D3
DEPTH | TEMP | DENSITY | SALINITY
0.675 | 13.7361 | 19.1861 | 25.8586
0.804 | 13.8929 | 19.1244 | 25.8173
1.045 | 14.0083 | 19.089 | 25.8002
1.335 | 14.0202 | 19.1209 | 25.8446
1.651 | 13.8829 | 19.2642 | 25.9964
1.983 | 13.5633 | 19.559 | 26.2998
2.319 | 13.0536 | 20.0211 | 26.7749
2.669 | 12.4017 | 20.5995 | 27.3694
3.008 | 11.6928 | 21.2006 | 27.9837
3.343 | 10.9971 | 21.7575 | 28.5482
3.679 | 10.3627 | 22.2424 | 29.0373
4.008 | 9.825 | 22.6498 | 29.45
4.336 | 9.3984 | 22.9867 | 29.7968
4.652 | 9.0746 | 23.262 | 30.0862
4.971 | 8.8351 | 23.4823 | 30.3222
5.276 | 8.6604 | 23.6547 | 30.5095
5.587 | 8.5338 | 23.7871 | 30.6549
5.867 | 8.4424 | 23.8882 | 30.767
6.155 | 8.3754 | 23.966 | 30.8539
6.426 | 8.324 | 24.0269 | 30.9222
6.707 | 8.2822 | 24.0793 | 30.9814
6.977 | 8.2466 | 24.1275 | 31.0363
7.247 | 8.2155 | 24.1682 | 31.0825
7.517 | 8.1882 | 24.2004 | 31.1187
7.773 | 8.1641 | 24.2284 | 31.1499
8.022 | 8.1426 | 24.2529 | 31.1772
8.27 | 8.1235 | 24.2723 | 31.1985
8.511 | 8.1066 | 24.2886 | 31.2162
8.741 | 8.0925 | 24.3046 | 31.234
8.976 | 8.0817 | 24.3209 | 31.2529
9.213 | 8.0724 | 24.3366 | 31.2712
9.462 | 8.0623 | 24.3488 | 31.2848
9.703 | 8.0507 | 24.3557 | 31.2915
9.941 | 8.0391 | 24.3574 | 31.2916
10.179 | 8.0293 | 24.3573 | 31.2897
10.414 | 8.0219 | 24.3594 | 31.291
10.652 | 8.0161 | 24.3625 | 31.2939
10.883 | 8.0107 | 24.363 | 31.2937
11.119 | 8.0053 | 24.3623 | 31.2918
11.353 | 7.9999 | 24.3627 | 31.2913
11.591 | 7.9938 | 24.3645 | 31.2925
11.831 | 7.9865 | 24.3704 | 31.2987
12.075 | 7.9778 | 24.3835 | 31.3138
12.324 | 7.9668 | 24.4014 | 31.3347
12.571 | 7.9531 | 24.4177 | 31.353
12.822 | 7.9369 | 24.4296 | 31.3651
13.072 | 7.9196 | 24.4408 | 31.3763
13.323 | 7.9029 | 24.4569 | 31.3939
13.578 | 7.8884 | 24.4797 | 31.4203
13.829 | 7.8766 | 24.5069 | 31.4528
14.084 | 7.8662 | 24.534 | 31.4855
14.333 | 7.8542 | 24.5573 | 31.5131
14.58 | 7.8376 | 24.575 | 31.5326
14.832 | 7.8146 | 24.5854 | 31.5418
15.085 | 7.7849 | 24.5914 | 31.5441
15.333 | 7.7486 | 24.5983 | 31.5464
15.586 | 7.7064 | 24.6067 | 31.5496
15.837 | 7.6593 | 24.6148 | 31.5516
16.082 | 7.6082 | 24.6233 | 31.5535
16.33 | 7.554 | 24.6372 | 31.5617
16.568 | 7.4978 | 24.6618 | 31.5832
16.818 | 7.4412 | 24.6962 | 31.6172
17.069 | 7.3867 | 24.7324 | 31.6538
17.311 | 7.3359 | 24.7646 | 31.686
17.562 | 7.2892 | 24.7936 | 31.7149
17.809 | 7.2456 | 24.8211 | 31.7423
18.058 | 7.2034 | 24.8465 | 31.7675
18.311 | 7.1615 | 24.8702 | 31.7905
18.556 | 7.1194 | 24.8935 | 31.813
18.81 | 7.0773 | 24.9177 | 31.8366
19.06 | 7.0354 | 24.9442 | 31.8632
19.306 | 6.994 | 24.9729 | 31.8927
19.554 | 6.9534 | 25 | 31.9204
19.802 | 6.9143 | 25.0219 | 31.9417
20.053 | 6.8768 | 25.0392 | 31.9574
20.302 | 6.8396 | 25.0557 | 31.9722
20.557 | 6.8008 | 25.0729 | 31.9877
20.804 | 6.7591 | 25.0913 | 32.0041
21.053 | 6.7128 | 25.1147 | 32.0262
21.299 | 6.661 | 25.1479 | 32.0599
21.546 | 6.6052 | 25.1903 | 32.1047
21.799 | 6.5472 | 25.2372 | 32.1548
22.048 | 6.4879 | 25.2835 | 32.204
22.298 | 6.4286 | 25.3275 | 32.2502
22.549 | 6.3712 | 25.3715 | 32.2969
22.8 | 6.318 | 25.4205 | 32.3505
23.047 | 6.2723 | 25.4807 | 32.4195
23.285 | 6.3755 | 25.8609 | 32.918

## EE1
DEPTH | TEMP | DENSITY | SALINITY
0.358 | 13.4102 | 18.9236 | 25.4383
0.487 | 13.5569 | 18.7436 | 25.2403
0.745 | 13.6833 | 18.5817 | 25.061
1.069 | 13.7447 | 18.5024 | 24.973
1.397 | 13.7084 | 18.5341 | 25.0053
1.73 | 13.5589 | 18.6858 | 25.1658
2.063 | 13.2954 | 18.955 | 25.4514
2.395 | 12.9223 | 19.326 | 25.8434
2.725 | 12.4401 | 19.7906 | 26.3323
3.066 | 11.8526 | 20.3482 | 26.9195
3.404 | 11.1863 | 20.9787 | 27.5862
3.735 | 10.5046 | 21.6254 | 28.2739
4.042 | 9.8812 | 22.218 | 28.9074
4.336 | 9.3603 | 22.713 | 29.4388
4.665 | 8.9511 | 23.1021 | 29.858
4.962 | 8.6419 | 23.3956 | 30.1749
5.277 | 8.4123 | 23.6136 | 30.4108
5.559 | 8.2429 | 23.7767 | 30.588
5.841 | 8.1187 | 23.8943 | 30.7156
6.131 | 8.0271 | 23.973 | 30.7995
6.424 | 7.9571 | 24.0264 | 30.855
6.695 | 7.9006 | 24.0658 | 30.8951
6.959 | 7.8517 | 24.096 | 30.9249
7.214 | 7.8077 | 24.1207 | 30.9486
7.46 | 7.7672 | 24.1449 | 30.9723
7.696 | 7.7303 | 24.1696 | 30.9973
7.931 | 7.6972 | 24.1925 | 31.0206
8.161 | 7.6682 | 24.2121 | 31.0405
8.388 | 7.6436 | 24.2305 | 31.0597
8.62 | 7.624 | 24.2492 | 31.0801
8.854 | 7.6093 | 24.2696 | 31.1034
9.099 | 7.599 | 24.2914 | 31.1294
9.35 | 7.5923 | 24.3126 | 31.1553
9.601 | 7.588 | 24.3328 | 31.1802
9.85 | 7.5849 | 24.3491 | 31.2004
10.101 | 7.5819 | 24.3581 | 31.2113
10.35 | 7.5796 | 24.3618 | 31.2156
10.601 | 7.5788 | 24.3655 | 31.2202
10.851 | 7.5795 | 24.371 | 31.2273
11.102 | 7.5811 | 24.3779 | 31.2364
11.351 | 7.5831 | 24.385 | 31.2458
11.603 | 7.5851 | 24.3909 | 31.2536
11.851 | 7.5875 | 24.3936 | 31.2574
12.1 | 7.5903 | 24.3928 | 31.257
12.352 | 7.594 | 24.3914 | 31.2558
12.604 | 7.5986 | 24.3913 | 31.2565
12.853 | 7.6038 | 24.3922 | 31.2585
13.107 | 7.6089 | 24.3939 | 31.2615
13.352 | 7.6138 | 24.3959 | 31.265
13.601 | 7.6184 | 24.3988 | 31.2695
13.851 | 7.6223 | 24.4041 | 31.2769
14.096 | 7.625 | 24.4111 | 31.2863
14.344 | 7.6255 | 24.4182 | 31.2954
14.594 | 7.6233 | 24.426 | 31.305
14.844 | 7.6177 | 24.4372 | 31.3182
15.092 | 7.6084 | 24.4527 | 31.3363
15.345 | 7.5952 | 24.4716 | 31.3581
15.603 | 7.5785 | 24.493 | 31.3824
15.853 | 7.5578 | 24.5166 | 31.4088
16.11 | 7.532 | 24.5416 | 31.4362
16.358 | 7.5006 | 24.5675 | 31.4637
16.609 | 7.4648 | 24.5936 | 31.4906
16.865 | 7.4261 | 24.6188 | 31.516
17.12 | 7.3856 | 24.6441 | 31.5413
17.37 | 7.3446 | 24.6714 | 31.5689
17.619 | 7.3048 | 24.699 | 31.5971
17.871 | 7.2658 | 24.7239 | 31.6222
18.121 | 7.2267 | 24.7459 | 31.6435
18.38 | 7.1868 | 24.7681 | 31.6649
18.633 | 7.1464 | 24.7902 | 31.6862
18.884 | 7.1059 | 24.8097 | 31.7042
19.134 | 7.0658 | 24.8273 | 31.7198
19.38 | 7.027 | 24.846 | 31.7371
19.627 | 6.9905 | 24.8676 | 31.7584
19.875 | 6.9568 | 24.8897 | 31.7808
20.123 | 6.9259 | 24.9083 | 31.7993
20.373 | 6.8975 | 24.9222 | 31.8123
20.621 | 6.8712 | 24.9346 | 31.8236
20.868 | 6.8466 | 24.948 | 31.8366
21.11 | 6.8232 | 24.9615 | 31.8499
21.355 | 6.8004 | 24.9738 | 31.8618
21.603 | 6.7787 | 24.9859 | 31.8736
21.853 | 6.7582 | 24.9993 | 31.8872
22.101 | 6.7386 | 25.0129 | 31.9012
22.349 | 6.7194 | 25.0249 | 31.9134
22.597 | 6.7003 | 25.0353 | 31.9234
22.847 | 6.6816 | 25.0452 | 31.933
23.096 | 6.6635 | 25.0556 | 31.9432
23.342 | 6.6463 | 25.0665 | 31.9542
23.596 | 6.63 | 25.0788 | 31.9672
23.842 | 6.6147 | 25.0942 | 31.9843
24.089 | 6.6004 | 25.1154 | 32.0088
24.339 | 6.5888 | 25.1432 | 32.0422
24.584 | 6.5818 | 25.1773 | 32.0844
24.682 | 6.5505 | 25.4635 | 32.4424

## EE2
DEPTH | TEMP | DENSITY | SALINITY
0.455 | 12.7834 | 19.6586 | 26.2414
0.602 | 12.9994 | 19.4095 | 25.9698
0.858 | 13.2066 | 19.169 | 25.7076
1.143 | 13.3604 | 18.9937 | 25.5172
1.434 | 13.4183 | 18.9187 | 25.4339
1.767 | 13.3602 | 18.9515 | 25.4624
2.096 | 13.1855 | 19.0831 | 25.5911
2.435 | 12.8993 | 19.3078 | 25.8144
2.759 | 12.5011 | 19.6351 | 26.1452
3.08 | 11.9844 | 20.0866 | 26.6112
3.401 | 11.3618 | 20.6602 | 27.2137
3.734 | 10.6959 | 21.2889 | 27.881
4.057 | 10.0712 | 21.8813 | 28.5135
4.381 | 9.5404 | 22.3857 | 29.0546
4.695 | 9.1172 | 22.791 | 29.4916
5.021 | 8.7933 | 23.107 | 29.8344
5.339 | 8.5519 | 23.3512 | 30.1015
5.644 | 8.3756 | 23.5417 | 30.3123
5.96 | 8.248 | 23.6948 | 30.4844
6.269 | 8.1551 | 23.8196 | 30.6268
6.578 | 8.0861 | 23.9191 | 30.7413
6.88 | 8.033 | 23.9987 | 30.8332
7.184 | 7.9903 | 24.065 | 30.9101
7.478 | 7.9558 | 24.1196 | 30.9735
7.771 | 7.9288 | 24.1632 | 31.0242
8.058 | 7.9085 | 24.2007 | 31.0684
8.339 | 7.8935 | 24.2333 | 31.1073
8.617 | 7.8825 | 24.2576 | 31.1364
8.888 | 7.8752 | 24.2753 | 31.1576
9.154 | 7.8713 | 24.2901 | 31.1757
9.418 | 7.8699 | 24.3034 | 31.1924
9.679 | 7.8698 | 24.3177 | 31.2106
9.931 | 7.8697 | 24.334 | 31.2314
10.179 | 7.8679 | 24.3511 | 31.2528
10.425 | 7.8636 | 24.3681 | 31.2738
10.667 | 7.8566 | 24.3853 | 31.2943
10.906 | 7.8469 | 24.402 | 31.3139
11.146 | 7.8349 | 24.4178 | 31.3319
11.386 | 7.8215 | 24.4326 | 31.3484
11.63 | 7.8073 | 24.4458 | 31.3627
11.877 | 7.7929 | 24.4582 | 31.3759
12.126 | 7.7787 | 24.4714 | 31.3902
12.371 | 7.7635 | 24.4842 | 31.4038
12.619 | 7.7449 | 24.4908 | 31.4089
12.857 | 7.7221 | 24.4897 | 31.4035
13.086 | 7.6963 | 24.4881 | 31.3969
13.323 | 7.67 | 24.4914 | 31.3965
13.566 | 7.6448 | 24.5025 | 31.4061
13.812 | 7.6216 | 24.5212 | 31.4259
14.06 | 7.6003 | 24.5437 | 31.4507
14.316 | 7.5806 | 24.5651 | 31.4746
14.561 | 7.5625 | 24.5846 | 31.4962
14.809 | 7.5462 | 24.6034 | 31.5173
15.056 | 7.5318 | 24.6207 | 31.5368
15.321 | 7.5188 | 24.6357 | 31.5537
15.579 | 7.5065 | 24.6493 | 31.5688
15.83 | 7.4945 | 24.6618 | 31.5826
16.084 | 7.4825 | 24.6714 | 31.5927
16.33 | 7.4708 | 24.6774 | 31.5983
16.575 | 7.4601 | 24.6828 | 31.6033
16.825 | 7.4503 | 24.6906 | 31.6116
17.07 | 7.4406 | 24.6997 | 31.6215
17.322 | 7.4301 | 24.7077 | 31.6298
17.572 | 7.4184 | 24.7166 | 31.6392
17.822 | 7.4061 | 24.7296 | 31.6536
18.083 | 7.3927 | 24.7452 | 31.671
18.33 | 7.3777 | 24.7599 | 31.6872
18.585 | 7.3604 | 24.7738 | 31.7018
18.838 | 7.3399 | 24.7876 | 31.7159
19.092 | 7.3138 | 24.8006 | 31.728
19.341 | 7.2794 | 24.8126 | 31.7374
19.593 | 7.2359 | 24.8257 | 31.7465
19.838 | 7.1833 | 24.842 | 31.7583
20.089 | 7.1224 | 24.8629 | 31.7746
20.334 | 7.0579 | 24.8951 | 31.8046
20.582 | 6.9974 | 24.9513 | 31.8658
20.822 | 6.9438 | 25.029 | 31.9557
20.996 | 6.6838 | 25.357 | 32.3291

## EE3
DEPTH | TEMP | DENSITY | SALINITY
1.478 | 14.8515 | 17.0574 | 23.3711
1.787 | 14.746 | 17.2428 | 23.5856
2.099 | 14.4677 | 17.5137 | 23.8676
2.413 | 14.0263 | 17.8855 | 24.241
2.732 | 13.4582 | 18.3642 | 24.724
3.037 | 12.815 | 18.9451 | 25.3248
3.333 | 12.1447 | 19.6043 | 26.024
3.625 | 11.4841 | 20.2938 | 26.7679
3.906 | 10.8604 | 20.9599 | 27.4923
4.178 | 10.2908 | 21.5683 | 28.1562
4.448 | 9.7811 | 22.1116 | 28.7508
4.706 | 9.336 | 22.5898 | 29.2762
4.973 | 8.9709 | 22.9905 | 29.719
5.23 | 8.6985 | 23.3044 | 30.0689
5.48 | 8.5119 | 23.5388 | 30.3337
5.722 | 8.3909 | 23.7048 | 30.5233
5.966 | 8.3141 | 23.8148 | 30.6497
6.206 | 8.2645 | 23.8888 | 30.735
6.439 | 8.2305 | 23.9433 | 30.7984
6.667 | 8.2047 | 23.9861 | 30.8482
6.891 | 8.1833 | 24.0221 | 30.8903
7.109 | 8.165 | 24.0557 | 30.9297
7.342 | 8.1494 | 24.0876 | 30.9676
7.59 | 8.1361 | 24.1173 | 31.0031
7.844 | 8.1245 | 24.1453 | 31.0367
8.105 | 8.1146 | 24.172 | 31.069
8.373 | 8.1062 | 24.1985 | 31.1013
8.626 | 8.0998 | 24.2256 | 31.1347
8.879 | 8.0951 | 24.2516 | 31.1669
9.133 | 8.0915 | 24.2716 | 31.1918
9.384 | 8.0882 | 24.2856 | 31.209
9.629 | 8.0847 | 24.2998 | 31.2264
9.862 | 8.08 | 24.3164 | 31.2468
10.119 | 8.0719 | 24.3311 | 31.264
10.383 | 8.0587 | 24.3419 | 31.2754
10.633 | 8.0406 | 24.3533 | 31.2866
10.884 | 8.0185 | 24.3674 | 31.3006
11.132 | 7.993 | 24.3818 | 31.3144
11.376 | 7.9648 | 24.3945 | 31.3256
11.624 | 7.9354 | 24.4064 | 31.3354
11.869 | 7.9066 | 24.4205 | 31.3482
12.113 | 7.8813 | 24.4424 | 31.3716
12.351 | 7.8626 | 24.4784 | 31.414
12.592 | 7.8541 | 24.5309 | 31.4795
12.799 | 7.8786 | 24.6235 | 31.6018

## E3
DEPTH | TEMP | DENSITY | SALINITY
0.493 | 15.5534 | 15.8686 | 22.0029
0.712 | 15.8152 | 15.6751 | 21.8192
0.985 | 16.0183 | 15.5198 | 21.6705
1.259 | 16.1202 | 15.4558 | 21.6143
1.558 | 16.0874 | 15.5211 | 21.6908
1.88 | 15.8817 | 15.7753 | 21.9679
2.212 | 15.4667 | 16.2789 | 22.5156
2.553 | 14.8247 | 17.0387 | 23.3398
2.868 | 13.9725 | 17.9922 | 24.3663
3.198 | 12.9897 | 19.0258 | 25.4703
3.525 | 12.0111 | 20.0061 | 26.5132
3.842 | 11.1508 | 20.8419 | 27.4022
4.17 | 10.4501 | 21.5105 | 28.1148
4.47 | 9.9008 | 22.0295 | 28.6695
4.758 | 9.4796 | 22.429 | 29.0982
5.056 | 9.1585 | 22.7353 | 29.4283
5.327 | 8.909 | 22.9697 | 29.6806
5.623 | 8.7083 | 23.1527 | 29.8769
5.897 | 8.5432 | 23.3026 | 30.0378
6.172 | 8.4071 | 23.4271 | 30.1717
6.444 | 8.2949 | 23.5288 | 30.281
6.708 | 8.2017 | 23.6151 | 30.3743
6.951 | 8.1235 | 23.6903 | 30.4562
7.184 | 8.0573 | 23.7536 | 30.525
7.422 | 8.0005 | 23.8068 | 30.5827
7.648 | 7.9512 | 23.8529 | 30.6328
7.881 | 7.909 | 23.8919 | 30.6749
8.107 | 7.8743 | 23.9244 | 30.7102
8.331 | 7.847 | 23.9536 | 30.7426
8.57 | 7.8266 | 23.9827 | 30.7761
8.813 | 7.8115 | 24.0125 | 30.8114
9.05 | 7.7996 | 24.0397 | 30.844
9.294 | 7.7897 | 24.059 | 30.8668
9.543 | 7.7813 | 24.0702 | 30.8796
9.791 | 7.7747 | 24.0778 | 30.888
10.043 | 7.7703 | 24.0857 | 30.8974
10.295 | 7.7678 | 24.0984 | 30.9131
10.547 | 7.7664 | 24.1182 | 30.938
10.796 | 7.7643 | 24.1411 | 30.9668
11.045 | 7.7597 | 24.1589 | 30.9888
11.301 | 7.7513 | 24.1685 | 30.9994
11.551 | 7.7393 | 24.1748 | 31.0054
11.801 | 7.7245 | 24.1851 | 31.016
12.049 | 7.7079 | 24.2018 | 31.0343
12.292 | 7.6901 | 24.2217 | 31.0564
12.542 | 7.6716 | 24.2416 | 31.0786
12.788 | 7.6527 | 24.2635 | 31.1032
13.038 | 7.6338 | 24.2886 | 31.1318
13.289 | 7.6151 | 24.3146 | 31.1616
13.536 | 7.5972 | 24.3403 | 31.1913
13.784 | 7.5807 | 24.3669 | 31.2223
14.038 | 7.5664 | 24.3965 | 31.2575
14.287 | 7.5551 | 24.4301 | 31.2983
14.54 | 7.5471 | 24.468 | 31.3451
14.694 | 7.5505 | 24.9671 | 31.981

## F1
DEPTH | TEMP | DENSITY | SALINITY
0.517 | 16.4144 | 16.0557 | 22.479
0.591 | 16.527 | 15.9066 | 22.3149
0.788 | 16.6434 | 15.7442 | 22.1346
1.052 | 16.7014 | 15.7199 | 22.119
1.358 | 16.638 | 15.9162 | 22.3583
1.666 | 16.4246 | 16.2963 | 22.7964
1.989 | 16.0668 | 16.7933 | 23.348
2.329 | 15.5797 | 17.3609 | 23.9576
2.691 | 14.9571 | 18.0009 | 24.6275
3.035 | 14.1853 | 18.7252 | 25.372
3.379 | 13.2988 | 19.4992 | 26.1577
3.714 | 12.3864 | 20.2595 | 26.9263
4.052 | 11.5348 | 20.9529 | 27.6291
4.379 | 10.7932 | 21.55 | 28.2375
4.707 | 10.1768 | 22.0449 | 28.7452
5.024 | 9.679 | 22.4466 | 29.1601
5.341 | 9.2821 | 22.7669 | 29.4925
5.659 | 8.9653 | 23.0203 | 29.7561
5.959 | 8.7089 | 23.2252 | 29.9697
6.262 | 8.4975 | 23.3948 | 30.1471
6.556 | 8.3208 | 23.5374 | 30.2968
6.835 | 8.1722 | 23.6611 | 30.4276
7.118 | 8.0473 | 23.7702 | 30.5444
7.396 | 7.9425 | 23.8639 | 30.6451
7.659 | 7.8543 | 23.9416 | 30.7286
7.916 | 7.7804 | 24.0052 | 30.7966
8.172 | 7.7204 | 24.0566 | 30.8516
8.427 | 7.6747 | 24.0986 | 30.897
8.687 | 7.6408 | 24.1306 | 30.932
8.933 | 7.6146 | 24.151 | 30.9533
9.183 | 7.5927 | 24.1613 | 30.9626
9.429 | 7.5717 | 24.1617 | 30.9595
9.665 | 7.5489 | 24.1562 | 30.9486
9.897 | 7.5257 | 24.1511 | 30.938
10.127 | 7.5048 | 24.1452 | 30.927
10.361 | 7.4874 | 24.1406 | 30.9181
10.591 | 7.4732 | 24.1448 | 30.921
10.826 | 7.4608 | 24.1598 | 30.9379
11.064 | 7.4484 | 24.182 | 30.9641
11.31 | 7.4356 | 24.207 | 30.9937
11.564 | 7.4236 | 24.2302 | 31.0212
11.812 | 7.4126 | 24.2467 | 31.0403
12.06 | 7.4016 | 24.2541 | 31.0478
12.311 | 7.3902 | 24.2597 | 31.053
12.562 | 7.3783 | 24.2729 | 31.0678
12.813 | 7.3652 | 24.295 | 31.0936
13.067 | 7.3499 | 24.3211 | 31.1242
13.319 | 7.3323 | 24.3472 | 31.1544
13.569 | 7.3122 | 24.3724 | 31.1831
13.818 | 7.2899 | 24.3978 | 31.2117
14.069 | 7.267 | 24.4246 | 31.2418
14.318 | 7.2447 | 24.4518 | 31.2726
14.569 | 7.2238 | 24.4766 | 31.3006
14.82 | 7.2042 | 24.497 | 31.3232
15.066 | 7.186 | 24.5126 | 31.3401
15.315 | 7.1702 | 24.5249 | 31.353
15.562 | 7.1574 | 24.5362 | 31.3652
15.816 | 7.1475 | 24.545 | 31.3747
16.066 | 7.1399 | 24.5458 | 31.3744
16.318 | 7.1347 | 24.5389 | 31.3648
16.565 | 7.1321 | 24.5329 | 31.3567
16.814 | 7.1313 | 24.5323 | 31.3558
17.064 | 7.1307 | 24.5348 | 31.3588
17.322 | 7.1292 | 24.5396 | 31.3647
17.574 | 7.126 | 24.5487 | 31.3758
17.821 | 7.1203 | 24.5619 | 31.3916
18.067 | 7.1114 | 24.5754 | 31.4072
18.316 | 7.0999 | 24.5861 | 31.4189
18.559 | 7.0872 | 24.5932 | 31.4258
18.805 | 7.0753 | 24.5965 | 31.4281
19.051 | 7.066 | 24.5978 | 31.4281
19.302 | 7.0598 | 24.5979 | 31.4272
19.55 | 7.056 | 24.5967 | 31.4251
19.8 | 7.0542 | 24.5979 | 31.4263
20.056 | 7.0546 | 24.6074 | 31.4385
20.304 | 7.0572 | 24.6275 | 31.4644
20.564 | 7.0611 | 24.656 | 31.5012
20.811 | 7.0647 | 24.69 | 31.5451
21.062 | 7.0697 | 24.7257 | 31.5913
21.297 | 7.0813 | 24.7575 | 31.6337
21.381 | 8.1546 | 23.8035 | 30.6059

## F2
DEPTH | TEMP | DENSITY | SALINITY
1.677 | 16.8734 | 13.9656 | 19.8686
2.011 | 16.2504 | 15.271 | 21.4077
2.351 | 15.4458 | 16.5756 | 22.8973
2.708 | 14.5871 | 17.7272 | 24.1757
3.051 | 13.7388 | 18.7209 | 25.2553
3.405 | 12.9137 | 19.5883 | 26.181
3.761 | 12.1225 | 20.3516 | 26.9847
4.1 | 11.3874 | 21.0174 | 27.6797
4.436 | 10.7341 | 21.5835 | 28.268
4.776 | 10.1808 | 22.0514 | 28.7543
5.1 | 9.7279 | 22.4293 | 29.1477
5.427 | 9.3616 | 22.7308 | 29.4618
5.759 | 9.0658 | 22.9735 | 29.7153
6.086 | 8.8275 | 23.1713 | 29.9231
6.4 | 8.6351 | 23.3316 | 30.0918
6.713 | 8.4779 | 23.4581 | 30.2243
7.023 | 8.3478 | 23.5559 | 30.3253
7.309 | 8.2395 | 23.6344 | 30.4059
7.623 | 8.1503 | 23.7028 | 30.477
7.917 | 8.0779 | 23.7632 | 30.5409
8.206 | 8.0211 | 23.8123 | 30.5934
8.494 | 7.9788 | 23.8532 | 30.638
8.775 | 7.9494 | 23.8906 | 30.6804
9.047 | 7.9299 | 23.9192 | 30.7135
9.314 | 7.9183 | 23.9357 | 30.7324
9.574 | 7.9135 | 23.9487 | 30.7481
9.826 | 7.913 | 23.9671 | 30.7715
10.077 | 7.914 | 23.9902 | 30.8011
10.324 | 7.9154 | 24.0128 | 30.8302
10.581 | 7.9169 | 24.0327 | 30.8557
10.822 | 7.9189 | 24.0501 | 30.8783
11.067 | 7.9213 | 24.0662 | 30.8993
11.32 | 7.9228 | 24.082 | 30.9197
11.564 | 7.9223 | 24.0973 | 30.939
11.805 | 7.9184 | 24.1124 | 30.9576
12.053 | 7.9099 | 24.1288 | 30.977
12.304 | 7.8968 | 24.1479 | 30.9989
12.549 | 7.878 | 24.168 | 31.0212
12.794 | 7.8523 | 24.1872 | 31.0412
13.034 | 7.8201 | 24.2089 | 31.0631
13.271 | 7.7836 | 24.2355 | 31.0905
13.508 | 7.7449 | 24.2649 | 31.1212
13.748 | 7.7056 | 24.2947 | 31.1522
13.993 | 7.667 | 24.3246 | 31.1835
14.231 | 7.6297 | 24.3577 | 31.2191
14.47 | 7.5953 | 24.3974 | 31.2636
14.716 | 7.566 | 24.4463 | 31.3208
14.97 | 7.5438 | 24.5078 | 31.3952
15.224 | 7.5284 | 24.5774 | 31.4812
15.488 | 7.5158 | 24.6285 | 31.5439
15.752 | 7.5017 | 24.64 | 31.5561
16 | 7.4847 | 24.63 | 31.5405
16.257 | 7.4664 | 24.6223 | 31.5275
16.503 | 7.4482 | 24.6194 | 31.5206
16.754 | 7.4303 | 24.6159 | 31.5131
17.001 | 7.4128 | 24.6125 | 31.5057
17.248 | 7.3968 | 24.614 | 31.5048
17.49 | 7.3826 | 24.6211 | 31.5114
17.736 | 7.3701 | 24.6294 | 31.5199
17.98 | 7.3592 | 24.6347 | 31.5247
18.236 | 7.35 | 24.6366 | 31.5255
18.48 | 7.3434 | 24.6376 | 31.5257
18.724 | 7.3408 | 24.6419 | 31.5308
18.975 | 7.3426 | 24.6509 | 31.5425
19.225 | 7.3452 | 24.6611 | 31.5559
19.471 | 7.3445 | 24.6684 | 31.565
19.718 | 7.3404 | 24.6738 | 31.5712
19.965 | 7.3366 | 24.6828 | 31.582
20.213 | 7.3352 | 24.6938 | 31.5957
20.468 | 7.3332 | 24.6974 | 31.6
20.718 | 7.3254 | 24.6911 | 31.5907
20.976 | 7.3103 | 24.68 | 31.5739
21.238 | 7.2891 | 24.6699 | 31.5574
21.501 | 7.2622 | 24.6591 | 31.5391
21.775 | 7.2291 | 24.6437 | 31.5139
22.053 | 7.1881 | 24.627 | 31.4857
22.329 | 7.1346 | 24.6086 | 31.4534
22.614 | 7.061 | 24.5862 | 31.4125
22.899 | 6.9618 | 24.5656 | 31.3699
23.198 | 6.8378 | 24.5526 | 31.333
23.502 | 6.6953 | 24.5497 | 31.3062
23.815 | 6.5402 | 24.5587 | 31.2928
24.138 | 6.371 | 24.5767 | 31.289
24.465 | 6.1761 | 24.5988 | 31.2868
24.794 | 5.9434 | 24.6183 | 31.2763
25.128 | 5.6759 | 24.6356 | 31.2588
25.464 | 5.3962 | 24.6606 | 31.2503
25.798 | 5.1335 | 24.6988 | 31.262
26.132 | 4.9096 | 24.7464 | 31.2919
26.46 | 4.7326 | 24.7944 | 31.329
26.789 | 4.6004 | 24.8352 | 31.3632
27.121 | 4.5046 | 24.8677 | 31.3919
27.454 | 4.4359 | 24.8938 | 31.4161
27.784 | 4.3863 | 24.9151 | 31.4367
28.09 | 4.3504 | 24.9306 | 31.4516
28.377 | 4.3238 | 24.9392 | 31.4592
28.698 | 4.3031 | 24.9427 | 31.461
29.018 | 4.2863 | 24.9439 | 31.4604
29.353 | 4.2724 | 24.9443 | 31.4592
29.683 | 4.2607 | 24.9442 | 31.4576
30.029 | 4.2512 | 24.9428 | 31.4547
30.376 | 4.2437 | 24.94 | 31.4503
30.714 | 4.2378 | 24.9368 | 31.4454
31.055 | 4.2332 | 24.9339 | 31.4412
31.392 | 4.2297 | 24.9319 | 31.4383
31.731 | 4.227 | 24.9311 | 31.437
32.066 | 4.2249 | 24.9311 | 31.4366
32.406 | 4.2232 | 24.9305 | 31.4358
32.741 | 4.2216 | 24.9298 | 31.4346
33.075 | 4.2202 | 24.9294 | 31.4339
33.398 | 4.2189 | 24.9295 | 31.434
33.734 | 4.2177 | 24.9297 | 31.4341
34.074 | 4.2167 | 24.9296 | 31.4338
34.41 | 4.2156 | 24.9291 | 31.433
34.746 | 4.2143 | 24.9281 | 31.4315
35.08 | 4.2125 | 24.9264 | 31.4292
35.41 | 4.2105 | 24.924 | 31.426
35.756 | 4.2083 | 24.9215 | 31.4225
36.079 | 4.206 | 24.9187 | 31.4188
36.413 | 4.2037 | 24.9161 | 31.4151
36.736 | 4.2015 | 24.9137 | 31.4118
37.08 | 4.1993 | 24.9118 | 31.4092
37.407 | 4.1974 | 24.9101 | 31.4068
37.743 | 4.1956 | 24.9086 | 31.4047
38.071 | 4.1937 | 24.9074 | 31.403
38.396 | 4.1917 | 24.9065 | 31.4016
38.729 | 4.1894 | 24.9059 | 31.4006
39.071 | 4.1873 | 24.9056 | 31.3998
39.408 | 4.1853 | 24.9054 | 31.3994
39.749 | 4.1836 | 24.905 | 31.3988
40.085 | 4.1821 | 24.9044 | 31.3978
40.422 | 4.1804 | 24.9038 | 31.3968
40.757 | 4.1785 | 24.9032 | 31.3957
41.086 | 4.1764 | 24.9026 | 31.3947
41.426 | 4.174 | 24.9022 | 31.394
41.76 | 4.1717 | 24.9019 | 31.3933
42.105 | 4.1694 | 24.9017 | 31.3927
42.439 | 4.1673 | 24.9016 | 31.3925
42.786 | 4.1657 | 24.9016 | 31.3922
43.113 | 4.1644 | 24.9015 | 31.3919
43.45 | 4.1633 | 24.9015 | 31.3917
43.787 | 4.1626 | 24.9012 | 31.3913
44.123 | 4.1621 | 24.9008 | 31.3907
44.458 | 4.1617 | 24.9004 | 31.3901
44.788 | 4.1615 | 24.8997 | 31.3893
45.125 | 4.1611 | 24.8992 | 31.3886
45.453 | 4.1606 | 24.8987 | 31.3879
45.784 | 4.1598 | 24.8982 | 31.3872
46.115 | 4.1586 | 24.8979 | 31.3866
46.448 | 4.1568 | 24.8978 | 31.3863
46.776 | 4.1547 | 24.8979 | 31.3862
47.106 | 4.1522 | 24.8984 | 31.3865
47.438 | 4.1497 | 24.8988 | 31.3866
47.767 | 4.1471 | 24.8993 | 31.387
48.096 | 4.1448 | 24.8996 | 31.3871
48.425 | 4.1425 | 24.9 | 31.3873
48.755 | 4.1403 | 24.9003 | 31.3874
49.071 | 4.138 | 24.9007 | 31.3876
49.376 | 4.1358 | 24.901 | 31.3877
49.692 | 4.1338 | 24.9013 | 31.3878
50.012 | 4.1319 | 24.9016 | 31.388
50.339 | 4.1302 | 24.9017 | 31.388
50.661 | 4.1285 | 24.9018 | 31.3878
50.988 | 4.1266 | 24.9018 | 31.3877
51.314 | 4.1244 | 24.902 | 31.3876
51.646 | 4.1219 | 24.9022 | 31.3875
51.969 | 4.1188 | 24.9023 | 31.3873
52.301 | 4.115 | 24.9026 | 31.3872
52.627 | 4.1108 | 24.9031 | 31.3873
52.959 | 4.1067 | 24.9038 | 31.3877
53.284 | 4.103 | 24.9047 | 31.3885
53.612 | 4.1 | 24.9056 | 31.3891
53.941 | 4.0976 | 24.9062 | 31.3897
54.272 | 4.0956 | 24.9067 | 31.39
54.594 | 4.0937 | 24.9072 | 31.3904
54.917 | 4.092 | 24.9074 | 31.3904
55.231 | 4.0902 | 24.9077 | 31.3906
55.554 | 4.0886 | 24.908 | 31.3907
55.885 | 4.0872 | 24.9081 | 31.3908
56.213 | 4.0858 | 24.9084 | 31.3909
56.54 | 4.0846 | 24.9083 | 31.3907
56.867 | 4.0833 | 24.9081 | 31.3903
57.195 | 4.0818 | 24.9077 | 31.3896
57.525 | 4.0804 | 24.9068 | 31.3883
57.848 | 4.079 | 24.9054 | 31.3863
58.167 | 4.078 | 24.9027 | 31.3828
58.404 | 4.0774 | 24.8979 | 31.3767
58.467 | 4.0798 | 24.8467 | 31.3125

## G2
DEPTH | TEMP | DENSITY | SALINITY
0.555 | 17.5758 | 8.9353 | 13.4576
0.867 | 17.491 | 10.8028 | 15.8885
1.196 | 17.2035 | 12.6933 | 18.2913
1.505 | 16.6994 | 14.4374 | 20.439
1.846 | 16.0306 | 15.9064 | 22.1792
2.19 | 15.2606 | 17.1508 | 23.599
2.535 | 14.4482 | 18.2109 | 24.7698
2.872 | 13.6446 | 19.1058 | 25.7317
3.202 | 12.8849 | 19.8591 | 26.5248
3.527 | 12.1781 | 20.4927 | 27.1797
3.834 | 11.5012 | 21.0401 | 27.7341
4.145 | 10.846 | 21.5403 | 28.2363
4.445 | 10.2548 | 22.0045 | 28.7093
4.739 | 9.7698 | 22.411 | 29.1325
5.027 | 9.3942 | 22.7417 | 29.4822
5.306 | 9.1067 | 23.0001 | 29.7572
5.581 | 8.88 | 23.2004 | 29.9702
5.848 | 8.6918 | 23.3594 | 30.1381
6.106 | 8.5274 | 23.4905 | 30.2748
6.353 | 8.3798 | 23.6007 | 30.3884
6.601 | 8.2478 | 23.6923 | 30.4812
6.837 | 8.1311 | 23.7659 | 30.554
7.069 | 8.0281 | 23.8212 | 30.606
7.299 | 7.9361 | 23.8588 | 30.6375
7.535 | 7.8532 | 23.8825 | 30.6531
7.773 | 7.7785 | 23.8967 | 30.6581
8.014 | 7.712 | 23.9043 | 30.6561
8.253 | 7.6535 | 23.9121 | 30.6559
8.498 | 7.6018 | 23.9258 | 30.6644
8.74 | 7.5555 | 23.9437 | 30.6792
8.983 | 7.5133 | 23.9635 | 30.6971
9.237 | 7.4747 | 23.985 | 30.7178
9.491 | 7.4398 | 24.0081 | 30.7413
9.738 | 7.4096 | 24.0314 | 30.7659
9.994 | 7.3848 | 24.0534 | 30.7895
10.252 | 7.366 | 24.0736 | 30.8121
10.512 | 7.3538 | 24.0922 | 30.8337
10.77 | 7.3479 | 24.1098 | 30.855
11.028 | 7.3474 | 24.1272 | 30.8772
11.291 | 7.3505 | 24.1452 | 30.9006
11.556 | 7.3553 | 24.1643 | 30.9257
11.817 | 7.3601 | 24.1847 | 30.9525
12.075 | 7.3636 | 24.2061 | 30.9803
12.34 | 7.3649 | 24.2284 | 31.0089
12.598 | 7.3636 | 24.2513 | 31.0378
12.862 | 7.3591 | 24.2733 | 31.065
13.125 | 7.3508 | 24.2921 | 31.0875
13.382 | 7.3378 | 24.3059 | 31.1028
13.641 | 7.3195 | 24.3122 | 31.1077
13.897 | 7.2956 | 24.3092 | 31.0999
14.149 | 7.2666 | 24.2974 | 31.0799
14.402 | 7.2337 | 24.2791 | 31.0511
14.65 | 7.199 | 24.2582 | 31.0187
14.897 | 7.1652 | 24.2395 | 30.9893
15.154 | 7.1343 | 24.2257 | 30.9666
15.406 | 7.1076 | 24.2168 | 30.9507
15.658 | 7.0865 | 24.2116 | 30.9407
15.915 | 7.0719 | 24.2093 | 30.9353
16.166 | 7.0634 | 24.2086 | 30.933
16.416 | 7.0591 | 24.2085 | 30.9322
16.669 | 7.0563 | 24.2077 | 30.9307
16.919 | 7.0524 | 24.2055 | 30.9272
17.168 | 7.0464 | 24.2019 | 30.9217
17.419 | 7.0385 | 24.1986 | 30.9161
17.669 | 7.0296 | 24.1955 | 30.9107
17.919 | 7.0196 | 24.1921 | 30.9047
18.17 | 7.0077 | 24.189 | 30.8989
18.41 | 6.992 | 24.1872 | 30.894
18.652 | 6.9711 | 24.1867 | 30.8899
18.894 | 6.9446 | 24.1877 | 30.8868
19.145 | 6.9141 | 24.1908 | 30.8858
19.391 | 6.8821 | 24.197 | 30.8885
19.638 | 6.8518 | 24.2055 | 30.8943
19.887 | 6.8253 | 24.2144 | 30.9013
20.139 | 6.8034 | 24.2224 | 30.9079
20.392 | 6.7854 | 24.2293 | 30.9138
20.641 | 6.7697 | 24.2359 | 30.9197
20.89 | 6.7531 | 24.2426 | 30.9255
21.143 | 6.7321 | 24.2477 | 30.9286
21.396 | 6.704 | 24.2514 | 30.9288
21.648 | 6.6691 | 24.2555 | 30.9284
21.898 | 6.6288 | 24.2613 | 30.9294
22.144 | 6.5846 | 24.2688 | 30.9318
22.396 | 6.5384 | 24.2789 | 30.9374
22.644 | 6.4951 | 24.2938 | 30.9495
22.895 | 6.4606 | 24.3147 | 30.9706
23.145 | 6.437 | 24.3368 | 30.995
23.399 | 6.4183 | 24.3521 | 31.0114
23.651 | 6.3948 | 24.3573 | 31.0143
23.902 | 6.3616 | 24.3574 | 31.0094
24.153 | 6.3221 | 24.3604 | 31.007
24.401 | 6.2826 | 24.3699 | 31.0129
24.653 | 6.2469 | 24.3839 | 31.0252
24.904 | 6.2142 | 24.3992 | 31.0397
25.153 | 6.177 | 24.4125 | 31.0508
25.408 | 6.121 | 24.4183 | 31.0496
25.661 | 6.0277 | 24.4148 | 31.0311
25.919 | 5.8851 | 24.4072 | 31.0002
26.184 | 5.6976 | 24.4084 | 30.9743
26.447 | 5.485 | 24.4282 | 30.969
26.706 | 5.2706 | 24.4632 | 30.9832
26.964 | 5.0712 | 24.5048 | 31.0085
27.215 | 4.8935 | 24.5454 | 31.036
27.465 | 4.737 | 24.5816 | 31.0611
27.723 | 4.6023 | 24.617 | 31.0884
27.987 | 4.4926 | 24.6533 | 31.1201
28.25 | 4.4087 | 24.6867 | 31.1517
28.53 | 4.3475 | 24.7144 | 31.179
28.824 | 4.3038 | 24.7366 | 31.2015
29.13 | 4.2726 | 24.7544 | 31.22
29.431 | 4.2501 | 24.7689 | 31.2355
29.746 | 4.2335 | 24.7809 | 31.2486
30.062 | 4.2213 | 24.7906 | 31.2593
30.37 | 4.2122 | 24.7987 | 31.2684
30.668 | 4.2058 | 24.8054 | 31.276
30.97 | 4.2011 | 24.8111 | 31.2827
31.281 | 4.1976 | 24.8159 | 31.2883
31.594 | 4.1951 | 24.82 | 31.2932
31.908 | 4.1936 | 24.8235 | 31.2973
32.24 | 4.1931 | 24.8263 | 31.3008
32.575 | 4.1935 | 24.8286 | 31.3038
32.92 | 4.1946 | 24.8308 | 31.3066
33.247 | 4.1963 | 24.8329 | 31.3095
33.58 | 4.1985 | 24.8348 | 31.3122
33.924 | 4.2009 | 24.8368 | 31.315
34.271 | 4.2035 | 24.8388 | 31.3178
34.618 | 4.2063 | 24.8408 | 31.3207
34.958 | 4.2094 | 24.8432 | 31.3241
35.31 | 4.2127 | 24.8463 | 31.3284
35.649 | 4.2163 | 24.8491 | 31.3324
35.998 | 4.2195 | 24.8514 | 31.3356
36.321 | 4.2222 | 24.853 | 31.338
36.655 | 4.2244 | 24.8544 | 31.34
36.989 | 4.2263 | 24.8555 | 31.3416
37.338 | 4.2277 | 24.8565 | 31.3431
37.685 | 4.2289 | 24.8577 | 31.3447
38.02 | 4.23 | 24.859 | 31.3465
38.351 | 4.2309 | 24.8605 | 31.3485
38.694 | 4.2316 | 24.8616 | 31.3499
39.039 | 4.2316 | 24.8625 | 31.3511
39.376 | 4.2311 | 24.8634 | 31.3521
39.718 | 4.2302 | 24.8642 | 31.353
40.062 | 4.229 | 24.865 | 31.3539
40.409 | 4.2276 | 24.8658 | 31.3548
40.754 | 4.2261 | 24.8669 | 31.356
41.095 | 4.2247 | 24.8684 | 31.3576
41.436 | 4.2237 | 24.8701 | 31.3596
41.775 | 4.2231 | 24.8718 | 31.3618
42.105 | 4.2228 | 24.8734 | 31.3637
42.449 | 4.2225 | 24.8745 | 31.3651
42.791 | 4.222 | 24.875 | 31.3656
43.129 | 4.2208 | 24.8752 | 31.3657
43.484 | 4.2188 | 24.8751 | 31.3654
43.821 | 4.2158 | 24.875 | 31.3648
44.165 | 4.2121 | 24.8748 | 31.3641
44.509 | 4.208 | 24.8754 | 31.3644
44.849 | 4.2045 | 24.8768 | 31.3657
45.185 | 4.2018 | 24.8785 | 31.3675
45.517 | 4.1996 | 24.8798 | 31.3689
45.854 | 4.1974 | 24.8804 | 31.3693
46.191 | 4.1946 | 24.8805 | 31.3692
46.534 | 4.1913 | 24.8805 | 31.3688
46.866 | 4.1875 | 24.8806 | 31.3684
47.202 | 4.1834 | 24.8809 | 31.3682
47.547 | 4.1794 | 24.8815 | 31.3686
47.892 | 4.1758 | 24.8827 | 31.3695
48.233 | 4.1729 | 24.8838 | 31.3707
48.57 | 4.1706 | 24.8849 | 31.3717
48.909 | 4.1687 | 24.8857 | 31.3725
49.251 | 4.1669 | 24.8864 | 31.3732
49.584 | 4.1653 | 24.8869 | 31.3736
49.937 | 4.1637 | 24.8875 | 31.3741
50.271 | 4.1621 | 24.888 | 31.3746
50.592 | 4.1606 | 24.8884 | 31.3749
50.931 | 4.1591 | 24.8888 | 31.3752
51.267 | 4.1576 | 24.8891 | 31.3754
51.613 | 4.156 | 24.8894 | 31.3755
51.948 | 4.1543 | 24.8896 | 31.3756
52.285 | 4.1523 | 24.8898 | 31.3757
52.623 | 4.1502 | 24.89 | 31.3757
52.957 | 4.148 | 24.8903 | 31.3757
53.305 | 4.1457 | 24.8906 | 31.3758
53.644 | 4.1434 | 24.8912 | 31.3763
53.979 | 4.1413 | 24.892 | 31.3771
54.312 | 4.1393 | 24.8928 | 31.3778
54.65 | 4.1374 | 24.8934 | 31.3783
54.982 | 4.1354 | 24.8938 | 31.3786
55.319 | 4.1332 | 24.8942 | 31.3789
55.659 | 4.131 | 24.8948 | 31.3792
55.995 | 4.1291 | 24.8953 | 31.3798
56.336 | 4.1275 | 24.8962 | 31.3806
56.663 | 4.1264 | 24.897 | 31.3815
57.005 | 4.1256 | 24.8976 | 31.3822
57.337 | 4.1249 | 24.898 | 31.3825
57.676 | 4.1239 | 24.8979 | 31.3824
58.005 | 4.1223 | 24.8977 | 31.3819
58.344 | 4.1199 | 24.8974 | 31.3812
58.689 | 4.1164 | 24.8969 | 31.3802
59.008 | 4.1116 | 24.8965 | 31.3791
59.346 | 4.1058 | 24.896 | 31.3777
59.679 | 4.0992 | 24.8961 | 31.3771
60.021 | 4.093 | 24.8972 | 31.3777
60.356 | 4.0882 | 24.8993 | 31.3797
60.691 | 4.0853 | 24.9014 | 31.382
61.019 | 4.0836 | 24.9032 | 31.384
61.356 | 4.0824 | 24.9041 | 31.3851
61.68 | 4.081 | 24.9045 | 31.3854
62.02 | 4.0789 | 24.9048 | 31.3855
62.349 | 4.0764 | 24.9054 | 31.3859
62.691 | 4.074 | 24.9062 | 31.3867
63.019 | 4.072 | 24.9071 | 31.3876
63.346 | 4.0703 | 24.9081 | 31.3887
63.691 | 4.0692 | 24.9088 | 31.3894
64.017 | 4.0684 | 24.9094 | 31.3901
64.351 | 4.0678 | 24.91 | 31.3907
64.679 | 4.0674 | 24.9105 | 31.3913
65.008 | 4.0671 | 24.9109 | 31.3918
65.341 | 4.0668 | 24.9113 | 31.3922
65.668 | 4.0666 | 24.9116 | 31.3926
66.006 | 4.0664 | 24.912 | 31.393
66.339 | 4.0663 | 24.9122 | 31.3933
66.67 | 4.0663 | 24.9124 | 31.3935
66.998 | 4.0663 | 24.9126 | 31.3938
67.332 | 4.0663 | 24.9129 | 31.3942
67.661 | 4.0664 | 24.9132 | 31.3945
67.981 | 4.0665 | 24.9134 | 31.3949
68.319 | 4.0666 | 24.9137 | 31.3951
68.657 | 4.0668 | 24.9137 | 31.3952
68.982 | 4.0669 | 24.9136 | 31.3951
69.307 | 4.067 | 24.9131 | 31.3944
69.634 | 4.0671 | 24.9118 | 31.3929
69.96 | 4.0672 | 24.9094 | 31.3899
70.282 | 4.0672 | 24.9052 | 31.3845
70.602 | 4.0672 | 24.8978 | 31.3753
70.916 | 4.0672 | 24.8854 | 31.3597
71.238 | 4.0674 | 24.8646 | 31.3335
71.447 | 4.0742 | 24.8057 | 31.2602

## H1
DEPTH | TEMP | DENSITY | SALINITY
0.482 | 16.0369 | 15.7557 | 21.9839
0.602 | 16.0969 | 15.5639 | 21.7493
0.853 | 16.1483 | 15.4342 | 21.5936
1.147 | 16.1369 | 15.575 | 21.7746
1.454 | 16.0111 | 16.006 | 22.3041
1.768 | 15.7509 | 16.585 | 22.9905
2.091 | 15.3618 | 17.2026 | 23.6932
2.428 | 14.8555 | 17.8224 | 24.3686
2.748 | 14.239 | 18.4548 | 25.0339
3.057 | 13.5222 | 19.1254 | 25.7272
3.353 | 12.7401 | 19.8274 | 26.4497
3.644 | 11.955 | 20.51 | 27.1513
3.92 | 11.2295 | 21.1225 | 27.7807
4.195 | 10.6029 | 21.6409 | 28.3143
4.462 | 10.0856 | 22.0632 | 28.75
4.719 | 9.668 | 22.3989 | 29.0968
4.963 | 9.3335 | 22.6622 | 29.3685
5.199 | 9.0652 | 22.8682 | 29.5805
5.435 | 8.8473 | 23.0308 | 29.7472
5.665 | 8.6654 | 23.1609 | 29.8794
5.895 | 8.5074 | 23.2664 | 29.985
6.131 | 8.3659 | 23.3526 | 30.0691
6.367 | 8.2384 | 23.4255 | 30.139
6.602 | 8.1257 | 23.4909 | 30.2022
6.85 | 8.0299 | 23.55 | 30.2605
7.103 | 7.9527 | 23.6014 | 30.3124
7.361 | 7.8934 | 23.6453 | 30.3578
7.62 | 7.8485 | 23.6826 | 30.3975
7.88 | 7.8135 | 23.7141 | 30.4315
8.146 | 7.7855 | 23.7409 | 30.4607
8.412 | 7.7623 | 23.7663 | 30.489
8.673 | 7.7404 | 23.7944 | 30.521
8.936 | 7.7167 | 23.8267 | 30.558
9.199 | 7.6904 | 23.862 | 30.5985
9.453 | 7.6622 | 23.8997 | 30.6416
9.709 | 7.633 | 23.9401 | 30.6879
9.966 | 7.6024 | 23.9831 | 30.7374
10.221 | 7.5697 | 24.0265 | 30.787
10.476 | 7.5334 | 24.0665 | 30.8317
10.733 | 7.4922 | 24.0982 | 30.865
10.983 | 7.4457 | 24.1186 | 30.883
11.237 | 7.3947 | 24.1296 | 30.8883
11.487 | 7.3407 | 24.1348 | 30.8856
11.746 | 7.2856 | 24.136 | 30.8778
11.997 | 7.2326 | 24.1338 | 30.8661
12.248 | 7.1846 | 24.1293 | 30.8524
12.5 | 7.1442 | 24.1237 | 30.8385
12.75 | 7.1121 | 24.1188 | 30.8269
13.002 | 7.0864 | 24.1158 | 30.8189
13.253 | 7.0643 | 24.1141 | 30.813
13.511 | 7.0435 | 24.1124 | 30.8075
13.763 | 7.0222 | 24.1102 | 30.8011
14.016 | 6.9996 | 24.1073 | 30.7937
14.271 | 6.9758 | 24.1045 | 30.7862
14.522 | 6.9507 | 24.1019 | 30.7789
14.771 | 6.9228 | 24.0993 | 30.771
15.018 | 6.8892 | 24.0961 | 30.7614
15.268 | 6.8482 | 24.0923 | 30.7499
15.522 | 6.802 | 24.0899 | 30.7396
15.771 | 6.7562 | 24.0915 | 30.7342
16.012 | 6.7163 | 24.097 | 30.7348
16.263 | 6.6839 | 24.1048 | 30.7394
16.521 | 6.6574 | 24.1124 | 30.745
16.767 | 6.6345 | 24.1194 | 30.7502
17.017 | 6.6142 | 24.1258 | 30.7551
17.268 | 6.5957 | 24.1318 | 30.7598
17.521 | 6.5779 | 24.137 | 30.7635
17.773 | 6.558 | 24.1407 | 30.7651
18.023 | 6.5327 | 24.1429 | 30.7639
18.276 | 6.5008 | 24.1444 | 30.7608
18.528 | 6.4637 | 24.1471 | 30.7585
18.782 | 6.4243 | 24.1523 | 30.759
19.038 | 6.3843 | 24.1593 | 30.7616
19.282 | 6.343 | 24.1661 | 30.7638
19.536 | 6.2979 | 24.1717 | 30.764
19.785 | 6.2481 | 24.1768 | 30.7628
20.034 | 6.1965 | 24.1841 | 30.7643
20.281 | 6.1482 | 24.1951 | 30.7709
20.531 | 6.1056 | 24.2081 | 30.7809
20.782 | 6.0678 | 24.2199 | 30.7902
21.026 | 6.0321 | 24.2297 | 30.7973
21.271 | 5.9965 | 24.2378 | 30.8022
21.512 | 5.9603 | 24.2456 | 30.8067
21.759 | 5.9233 | 24.2544 | 30.8125
22.01 | 5.885 | 24.2636 | 30.8184
22.263 | 5.8445 | 24.2727 | 30.8239
22.52 | 5.8016 | 24.2817 | 30.8292
22.771 | 5.7546 | 24.2895 | 30.8322
23.023 | 5.7011 | 24.2963 | 30.833
23.274 | 5.64 | 24.3043 | 30.8343
23.525 | 5.5693 | 24.314 | 30.8365
23.778 | 5.4859 | 24.325 | 30.8386
24.037 | 5.3867 | 24.3385 | 30.8417
24.302 | 5.2715 | 24.3561 | 30.848
24.574 | 5.1459 | 24.3806 | 30.8618
24.852 | 5.021 | 24.413 | 30.8859
25.134 | 4.9071 | 24.4497 | 30.917
25.425 | 4.8089 | 24.4851 | 30.9488
25.736 | 4.726 | 24.5162 | 30.9772
26.049 | 4.6556 | 24.5433 | 31.0023
26.368 | 4.5949 | 24.5676 | 31.0251
26.694 | 4.5414 | 24.59 | 31.0466
27.018 | 4.4938 | 24.6109 | 31.0669
27.353 | 4.4514 | 24.6303 | 31.086
27.688 | 4.4141 | 24.6488 | 31.1046
28.024 | 4.3816 | 24.6659 | 31.1221
28.365 | 4.3521 | 24.6805 | 31.1368
28.709 | 4.3231 | 24.6921 | 31.1478
29.057 | 4.2933 | 24.7029 | 31.1577
29.4 | 4.2642 | 24.7155 | 31.17
29.757 | 4.2385 | 24.7305 | 31.1858
30.112 | 4.2179 | 24.7458 | 31.2025
30.46 | 4.2027 | 24.7593 | 31.2176
30.81 | 4.1922 | 24.7704 | 31.2304
31.161 | 4.1855 | 24.7796 | 31.2411
31.505 | 4.1818 | 24.7873 | 31.2503
31.861 | 4.1802 | 24.7941 | 31.2587
32.209 | 4.1802 | 24.8 | 31.2661
32.557 | 4.181 | 24.8054 | 31.273
32.902 | 4.1821 | 24.8107 | 31.2798
33.254 | 4.1834 | 24.8156 | 31.2861
33.599 | 4.1849 | 24.8197 | 31.2915
33.948 | 4.1865 | 24.823 | 31.2959
34.295 | 4.188 | 24.8258 | 31.2996
34.639 | 4.1895 | 24.8282 | 31.3027
34.975 | 4.1909 | 24.8303 | 31.3055
35.329 | 4.1922 | 24.8321 | 31.308
35.673 | 4.1936 | 24.8337 | 31.3101
36.013 | 4.1949 | 24.835 | 31.312
36.36 | 4.196 | 24.8363 | 31.3137
36.699 | 4.197 | 24.8377 | 31.3156
37.044 | 4.198 | 24.8393 | 31.3178
37.384 | 4.199 | 24.8412 | 31.3203
37.726 | 4.2001 | 24.8433 | 31.3231
38.073 | 4.2012 | 24.8453 | 31.3257
38.412 | 4.2021 | 24.8473 | 31.3284
38.758 | 4.2028 | 24.8493 | 31.3309
39.102 | 4.2033 | 24.851 | 31.3332
39.438 | 4.2035 | 24.8525 | 31.335
39.781 | 4.2036 | 24.8537 | 31.3365
40.119 | 4.2037 | 24.8549 | 31.3381
40.453 | 4.204 | 24.8563 | 31.3399
40.798 | 4.2045 | 24.8577 | 31.3416
41.139 | 4.2051 | 24.8586 | 31.3429
41.467 | 4.2055 | 24.8594 | 31.3439
41.807 | 4.2058 | 24.8598 | 31.3444
42.143 | 4.2057 | 24.8601 | 31.3448
42.484 | 4.2054 | 24.8603 | 31.345
42.815 | 4.2049 | 24.8604 | 31.3451
43.158 | 4.2044 | 24.8602 | 31.3448
43.499 | 4.2038 | 24.8598 | 31.3442
43.831 | 4.2031 | 24.8593 | 31.3436
44.171 | 4.2023 | 24.8589 | 31.3428
44.508 | 4.2014 | 24.8584 | 31.3421
44.858 | 4.2003 | 24.8579 | 31.3414
45.192 | 4.1991 | 24.857 | 31.3401
45.529 | 4.1976 | 24.8556 | 31.3382
45.861 | 4.1957 | 24.8534 | 31.3351
46.2 | 4.1934 | 24.8486 | 31.3288
46.536 | 4.1908 | 24.8387 | 31.316
46.873 | 4.1883 | 24.8201 | 31.2923
47.199 | 4.1862 | 24.7873 | 31.2507
47.527 | 4.2025 | 24.6098 | 31.0292

## H2
DEPTH | TEMP | DENSITY | SALINITY
0.494 | 16.9345 | 12.9684 | 18.5782
0.549 | 16.9909 | 12.8889 | 18.4894
0.764 | 17.0194 | 12.9862 | 18.6248
1.054 | 16.951 | 13.4999 | 19.2796
1.366 | 16.7471 | 14.3299 | 20.3112
1.704 | 16.4105 | 15.2306 | 21.3983
2.049 | 15.9578 | 16.0823 | 22.3895
2.398 | 15.3967 | 16.8669 | 23.2644
2.747 | 14.708 | 17.6515 | 24.108
3.105 | 13.8813 | 18.4815 | 24.9795
3.471 | 12.9741 | 19.3182 | 25.8455
3.829 | 12.0896 | 20.1018 | 26.6545
4.187 | 11.302 | 20.7927 | 27.3715
4.549 | 10.6344 | 21.3775 | 27.9822
4.905 | 10.0826 | 21.8625 | 28.4917
5.259 | 9.634 | 22.2594 | 28.9112
5.613 | 9.2719 | 22.5836 | 29.2558
5.958 | 8.974 | 22.8504 | 29.5403
6.307 | 8.7177 | 23.0716 | 29.775
6.663 | 8.4888 | 23.2563 | 29.9687
7.022 | 8.2849 | 23.4097 | 30.1272
7.383 | 8.1096 | 23.5349 | 30.2554
7.736 | 7.9641 | 23.6421 | 30.3662
8.074 | 7.8432 | 23.7405 | 30.4703
8.42 | 7.7401 | 23.8239 | 30.5586
8.756 | 7.6503 | 23.8853 | 30.6212
9.099 | 7.572 | 23.9321 | 30.6672
9.433 | 7.5045 | 23.9747 | 30.7099
9.773 | 7.4471 | 24.0144 | 30.7506
10.106 | 7.3976 | 24.0523 | 30.7903
10.449 | 7.3527 | 24.0935 | 30.8352
10.776 | 7.31 | 24.1367 | 30.8829
11.116 | 7.2707 | 24.1753 | 30.9254
11.431 | 7.2383 | 24.2121 | 30.9668
11.75 | 7.2153 | 24.2509 | 31.0122
12.06 | 7.1977 | 24.2826 | 31.0495
12.36 | 7.1782 | 24.2972 | 31.0648
12.674 | 7.1542 | 24.2988 | 31.0629
12.978 | 7.1279 | 24.3009 | 31.0611
13.277 | 7.1026 | 24.3147 | 31.0744
13.58 | 7.0805 | 24.341 | 31.1042
13.881 | 7.0634 | 24.3729 | 31.1419
14.172 | 7.052 | 24.4094 | 31.1864
14.465 | 7.0469 | 24.4539 | 31.2421
14.763 | 7.0473 | 24.5067 | 31.3092
15.058 | 7.05 | 24.548 | 31.3622
15.345 | 7.0524 | 24.5537 | 31.3699
15.629 | 7.0549 | 24.5382 | 31.3506
15.911 | 7.0587 | 24.5273 | 31.3374
16.193 | 7.063 | 24.5186 | 31.3271
16.491 | 7.0655 | 24.4941 | 31.2963
16.763 | 7.0657 | 24.4513 | 31.2419
17.064 | 7.0636 | 24.411 | 31.1904
17.36 | 7.0571 | 24.3844 | 31.1555
17.647 | 7.0419 | 24.3614 | 31.1236
17.924 | 7.0154 | 24.3361 | 31.0871
18.199 | 6.9789 | 24.32 | 31.0606
18.469 | 6.936 | 24.315 | 31.0472
18.74 | 6.8889 | 24.3086 | 31.0313
19.001 | 6.8378 | 24.302 | 31.0147
19.266 | 6.7833 | 24.3058 | 31.0106
19.52 | 6.7262 | 24.3165 | 31.015
19.777 | 6.6649 | 24.3262 | 31.0175
20.026 | 6.5962 | 24.3366 | 31.0199
20.273 | 6.5212 | 24.3536 | 31.0295
20.515 | 6.4458 | 24.3785 | 31.0492
20.754 | 6.3763 | 24.4063 | 31.0737
20.993 | 6.3155 | 24.4364 | 31.1024
21.229 | 6.2635 | 24.4729 | 31.1407
21.465 | 6.2183 | 24.5129 | 31.1844
21.699 | 6.1763 | 24.5444 | 31.2179
21.935 | 6.1348 | 24.5644 | 31.2369
22.171 | 6.0941 | 24.5871 | 31.2595
22.406 | 6.056 | 24.6233 | 31.2996
22.648 | 6.0219 | 24.6702 | 31.3538
22.887 | 5.9925 | 24.721 | 31.4138
23.133 | 5.9681 | 24.7721 | 31.4748
23.386 | 5.9497 | 24.8226 | 31.536
23.639 | 5.9369 | 24.8719 | 31.5965
23.886 | 5.9279 | 24.9158 | 31.6508
24.136 | 5.92 | 24.9526 | 31.6961
24.39 | 5.911 | 24.984 | 31.7346
24.647 | 5.8999 | 25.0095 | 31.7652
24.898 | 5.8837 | 25.0222 | 31.7789
25.145 | 5.8581 | 25.0175 | 31.7691
25.394 | 5.8204 | 25.0038 | 31.7461
25.643 | 5.7727 | 24.9912 | 31.723
25.891 | 5.7199 | 24.9865 | 31.7093
26.138 | 5.6689 | 24.9982 | 31.7165
26.386 | 5.6268 | 25.0324 | 31.7536
26.631 | 5.5967 | 25.0872 | 31.8185
26.882 | 5.5749 | 25.142 | 31.8846
27.125 | 5.5523 | 25.1692 | 31.9158
27.365 | 5.5222 | 25.1702 | 31.9126
27.616 | 5.4837 | 25.1674 | 31.9035
27.869 | 5.4411 | 25.1726 | 31.904
28.117 | 5.401 | 25.1888 | 31.9187
28.364 | 5.3692 | 25.2141 | 31.9461
28.609 | 5.3463 | 25.2399 | 31.9754
28.856 | 5.326 | 25.2582 | 31.9957
29.107 | 5.2994 | 25.2673 | 32.0034
29.358 | 5.2639 | 25.2701 | 32.0019
29.611 | 5.2239 | 25.2744 | 32.0017
29.863 | 5.1834 | 25.2854 | 32.0099
30.116 | 5.1398 | 25.2999 | 32.0221
30.368 | 5.089 | 25.3108 | 32.0288
30.617 | 5.0307 | 25.3136 | 32.0242
30.866 | 4.9672 | 25.3109 | 32.0121
31.113 | 4.9012 | 25.3083 | 31.9999
31.362 | 4.8368 | 25.308 | 31.9907
31.608 | 4.7777 | 25.3124 | 31.9883
31.854 | 4.7263 | 25.3233 | 31.9952
32.101 | 4.683 | 25.3393 | 32.0096
32.345 | 4.6473 | 25.3576 | 32.028
32.593 | 4.6185 | 25.3767 | 32.0483
32.84 | 4.5949 | 25.3946 | 32.0677
33.087 | 4.5742 | 25.4068 | 32.0804
33.331 | 4.5544 | 25.41 | 32.0818
33.578 | 4.5342 | 25.4055 | 32.0736
33.832 | 4.5134 | 25.3961 | 32.059
34.081 | 4.4931 | 25.3847 | 32.042
34.332 | 4.4744 | 25.3752 | 32.0276
34.579 | 4.4578 | 25.3668 | 32.0148
34.828 | 4.4424 | 25.3558 | 31.999
35.081 | 4.4271 | 25.3379 | 31.9745
35.333 | 4.4118 | 25.3113 | 31.939
35.586 | 4.3975 | 25.279 | 31.8965
35.833 | 4.3852 | 25.2476 | 31.8554
36.087 | 4.3747 | 25.2227 | 31.8227
36.33 | 4.3648 | 25.2042 | 31.7981
36.58 | 4.3541 | 25.1871 | 31.7752
36.826 | 4.3434 | 25.1673 | 31.749
37.076 | 4.3337 | 25.1468 | 31.7219
37.322 | 4.3252 | 25.1293 | 31.6988
37.571 | 4.3176 | 25.1167 | 31.6819
37.817 | 4.3104 | 25.1096 | 31.6721
38.073 | 4.3037 | 25.1066 | 31.6675
38.329 | 4.2975 | 25.1037 | 31.6631
38.578 | 4.2921 | 25.0985 | 31.6558
38.825 | 4.2878 | 25.0906 | 31.6453
39.069 | 4.2847 | 25.0797 | 31.6312
39.319 | 4.2824 | 25.0665 | 31.6142
39.565 | 4.2806 | 25.0523 | 31.5962
39.811 | 4.2791 | 25.0385 | 31.5786
40.055 | 4.2777 | 25.0253 | 31.5618
40.302 | 4.2763 | 25.0128 | 31.5459
40.55 | 4.2749 | 25.0013 | 31.5312
40.796 | 4.273 | 24.9907 | 31.5176
41.048 | 4.2703 | 24.9809 | 31.505
41.296 | 4.2667 | 24.9716 | 31.4927
41.539 | 4.2619 | 24.9632 | 31.4816
41.792 | 4.2567 | 24.9562 | 31.4721
42.039 | 4.2519 | 24.9507 | 31.4646
42.289 | 4.248 | 24.9462 | 31.4585
42.537 | 4.2453 | 24.9422 | 31.4531
42.781 | 4.2434 | 24.939 | 31.4488
43.029 | 4.2421 | 24.936 | 31.4449
43.282 | 4.2412 | 24.9331 | 31.4411
43.532 | 4.2405 | 24.9302 | 31.4374
43.776 | 4.2396 | 24.9272 | 31.4335
44.028 | 4.238 | 24.9243 | 31.4296
44.275 | 4.2359 | 24.9214 | 31.4257
44.525 | 4.2333 | 24.9188 | 31.4222
44.774 | 4.2305 | 24.9166 | 31.419
45.021 | 4.2275 | 24.9148 | 31.4164
45.272 | 4.2243 | 24.9133 | 31.4142
45.522 | 4.221 | 24.9119 | 31.4119
45.772 | 4.2177 | 24.9104 | 31.4096
45.986 | 4.2138 | 24.8818 | 31.3731

## DYC
DEPTH | TEMP | DENSITY | SALINITY
0.559 | 17.4434 | 11.7246 | 17.0861
0.653 | 17.4247 | 11.8799 | 17.2849
0.883 | 17.3564 | 12.2308 | 17.7267
1.17 | 17.1775 | 13.0109 | 18.7008
1.467 | 16.8662 | 14.1048 | 20.0491
1.789 | 16.4517 | 15.1737 | 21.3352
2.125 | 15.9692 | 16.1093 | 22.4277
2.481 | 15.4484 | 16.921 | 23.3486
2.83 | 14.9246 | 17.6055 | 24.1039
3.177 | 14.4343 | 18.1635 | 24.7046
3.544 | 14.0055 | 18.5899 | 25.151
3.885 | 13.6533 | 18.8754 | 25.4348
4.202 | 13.3678 | 19.0648 | 25.611
4.44 | 11.868 | 20.4643 | 27.0727
4.626 | 11.1074 | 21.176 | 27.8232
4.908 | 10.4396 | 21.786 | 28.4668
5.224 | 9.8989 | 22.2688 | 28.976
5.553 | 9.4602 | 22.6429 | 29.3685
5.897 | 9.0941 | 22.941 | 29.6792
6.243 | 8.7868 | 23.1851 | 29.933
6.598 | 8.5318 | 23.3836 | 30.1391
6.946 | 8.3232 | 23.5442 | 30.3059
7.303 | 8.1552 | 23.68 | 30.4487
7.659 | 8.0202 | 23.7996 | 30.5771
8.017 | 7.9084 | 23.8939 | 30.6773
8.366 | 7.8094 | 23.9518 | 30.7336
8.734 | 7.7178 | 23.993 | 30.7701
9.077 | 7.6332 | 24.0395 | 30.8145
9.442 | 7.5566 | 24.089 | 30.8643
9.805 | 7.4893 | 24.1379 | 30.9149
10.164 | 7.4318 | 24.1829 | 30.9623
10.512 | 7.3838 | 24.2261 | 31.0091
10.874 | 7.3442 | 24.2764 | 31.0664
11.228 | 7.3097 | 24.3224 | 31.1191
11.575 | 7.2781 | 24.3401 | 31.1362
11.924 | 7.2529 | 24.3344 | 31.1248
12.285 | 7.2414 | 24.3329 | 31.1209
12.652 | 7.2535 | 24.3427 | 31.1354
13.005 | 7.3026 | 24.3462 | 31.1481
13.24 | 7.3915 | 24.3155 | 31.1242
13.301 | 7.4827 | 24.2447 | 31.0497

## BRB
DEPTH | TEMP | DENSITY | SALINITY
3.368 | 10.4159 | 22.1052 | 28.8721
3.694 | 10.1419 | 22.3229 | 29.095
4.024 | 9.8517 | 22.5644 | 29.3459
4.336 | 9.5764 | 22.8014 | 29.5945
4.642 | 9.3385 | 23.0099 | 29.8148
4.976 | 9.1452 | 23.1821 | 29.9975
5.292 | 8.9931 | 23.3239 | 30.1497
5.626 | 8.8739 | 23.4449 | 30.2817
5.963 | 8.7769 | 23.5541 | 30.4029
6.301 | 8.693 | 23.6581 | 30.5199
6.655 | 8.618 | 23.7568 | 30.6319
6.991 | 8.5522 | 23.845 | 30.7323
7.335 | 8.497 | 23.9185 | 30.8159
7.672 | 8.4522 | 23.9777 | 30.8831
8.003 | 8.4163 | 24.0253 | 30.9371
8.327 | 8.3866 | 24.062 | 30.9786
8.643 | 8.3611 | 24.0903 | 31.0099
8.968 | 8.3374 | 24.1161 | 31.0384
9.28 | 8.3126 | 24.143 | 31.0682
9.587 | 8.2835 | 24.1713 | 31.0989
9.902 | 8.2479 | 24.2011 | 31.1303
10.206 | 8.207 | 24.2322 | 31.1626
10.512 | 8.1649 | 24.2634 | 31.1946
10.814 | 8.1253 | 24.2928 | 31.2249
11.116 | 8.0896 | 24.3177 | 31.2501
11.426 | 8.0577 | 24.3384 | 31.2707
11.732 | 8.0298 | 24.3593 | 31.2924
12.038 | 8.0061 | 24.3811 | 31.3159
12.343 | 7.9864 | 24.4038 | 31.3412
12.642 | 7.9711 | 24.4316 | 31.374
12.936 | 7.9603 | 24.4659 | 31.4156
13.209 | 7.953 | 24.5036 | 31.4624
13.474 | 7.9483 | 24.5391 | 31.5068
13.686 | 7.9439 | 24.5597 | 31.5322
13.875 | 7.9343 | 24.5574 | 31.5275
14.058 | 7.9128 | 24.5446 | 31.5074
14.279 | 7.8804 | 24.5477 | 31.5055
14.554 | 7.8474 | 24.5788 | 31.5392
14.873 | 7.8249 | 24.6146 | 31.5808
15.182 | 7.8191 | 24.628 | 31.5968
15.494 | 7.8326 | 24.6217 | 31.5913
15.736 | 7.8322 | 24.5987 | 31.5618

## RNSYS
DEPTH | TEMP | DENSITY | SALINITY
1.63 | 11.9303 | 21.1777 | 28.0078
1.703 | 11.9728 | 21.1428 | 27.9725
1.804 | 12.0135 | 21.1259 | 27.9599
1.899 | 12.0482 | 21.131 | 27.9744
1.984 | 12.0777 | 21.148 | 28.0032
2.074 | 12.1037 | 21.1604 | 28.0252
2.182 | 12.1226 | 21.1634 | 28.0334
2.297 | 12.1234 | 21.165 | 28.0357
2.411 | 12.0911 | 21.181 | 28.0489
2.539 | 12.0121 | 21.2326 | 28.0973
2.658 | 11.8777 | 21.3381 | 28.2029
2.775 | 11.6802 | 21.51 | 28.38
2.985 | 11.4146 | 21.7543 | 28.6356
3.254 | 11.0943 | 22.0543 | 28.9515
3.575 | 10.7524 | 22.3687 | 29.2819
3.881 | 10.423 | 22.6602 | 29.5866
4.187 | 10.1263 | 22.9109 | 29.8466
4.512 | 9.8669 | 23.1194 | 30.0607
4.837 | 9.6391 | 23.2929 | 30.237
5.158 | 9.436 | 23.4383 | 30.3826
5.477 | 9.2547 | 23.5608 | 30.5036
5.801 | 9.0955 | 23.6645 | 30.6051
6.113 | 8.9598 | 23.7519 | 30.6907
6.425 | 8.8484 | 23.8243 | 30.7619
6.728 | 8.76 | 23.8826 | 30.8195
7.034 | 8.6904 | 23.9279 | 30.8642
7.337 | 8.6347 | 23.9622 | 30.8974
7.631 | 8.5885 | 23.9882 | 30.922
7.951 | 8.5483 | 24.0086 | 30.9405
8.268 | 8.5113 | 24.0257 | 30.9553
8.596 | 8.4749 | 24.0412 | 30.9684
8.932 | 8.4364 | 24.0562 | 30.9804
9.266 | 8.393 | 24.0725 | 30.9931
9.598 | 8.3437 | 24.0919 | 31.0086
9.943 | 8.2896 | 24.1147 | 31.0279
10.277 | 8.2316 | 24.1402 | 31.0497
10.626 | 8.1696 | 24.1676 | 31.0733
10.957 | 8.1037 | 24.1967 | 31.0984
11.306 | 8.0343 | 24.2272 | 31.1247
11.647 | 7.9633 | 24.2576 | 31.1507
11.99 | 7.8928 | 24.287 | 31.1756
12.336 | 7.8241 | 24.3149 | 31.1989
12.679 | 7.7576 | 24.341 | 31.2203
13.017 | 7.6941 | 24.3652 | 31.24
13.367 | 7.635 | 24.3883 | 31.2591
13.707 | 7.5812 | 24.4108 | 31.2783
14.055 | 7.5315 | 24.4332 | 31.2981
14.397 | 7.484 | 24.4571 | 31.3203
14.741 | 7.4374 | 24.4859 | 31.3489
15.085 | 7.3928 | 24.5238 | 31.3894
15.402 | 7.3532 | 24.5751 | 31.4479
15.518 | 7.2801 | 24.7023 | 31.5973

## SYC
DEPTH | TEMP | DENSITY | SALINITY
0.533 | 13.8353 | 19.9173 | 26.8322
0.634 | 13.8798 | 19.8539 | 26.7611
0.854 | 13.9233 | 19.7911 | 26.6906
1.139 | 13.9262 | 19.7681 | 26.6614
1.45 | 13.8445 | 19.8222 | 26.7111
1.779 | 13.6424 | 19.9806 | 26.8662
2.13 | 13.3021 | 20.2562 | 27.1397
2.488 | 12.8438 | 20.6282 | 27.5107
2.851 | 12.3228 | 21.0445 | 27.9262
3.211 | 11.7933 | 21.458 | 28.3384
3.567 | 11.2854 | 21.8462 | 28.7254
3.931 | 10.8138 | 22.2008 | 29.0792
4.272 | 10.3888 | 22.5167 | 29.3951
4.621 | 10.0173 | 22.7919 | 29.6714
4.972 | 9.7015 | 23.0276 | 29.9095
5.316 | 9.4403 | 23.2262 | 30.1119
5.674 | 9.2295 | 23.3909 | 30.2812
6.015 | 9.0618 | 23.5257 | 30.4211
6.362 | 8.9276 | 23.636 | 30.5362
6.7 | 8.817 | 23.7271 | 30.6317
7.03 | 8.7231 | 23.8034 | 30.7112
7.366 | 8.6415 | 23.8694 | 30.7802
7.694 | 8.5697 | 23.9274 | 30.8407
8.019 | 8.5061 | 23.9766 | 30.8917
8.348 | 8.4491 | 24.0203 | 30.9368
8.675 | 8.3977 | 24.063 | 30.9818
8.998 | 8.3514 | 24.103 | 31.0243
9.317 | 8.3088 | 24.1357 | 31.0581
9.628 | 8.2687 | 24.1635 | 31.0862
9.946 | 8.2306 | 24.1934 | 31.1174
10.255 | 8.1945 | 24.2248 | 31.1508
10.563 | 8.1599 | 24.2521 | 31.1793
10.867 | 8.1273 | 24.2759 | 31.2037
11.171 | 8.0976 | 24.3023 | 31.2319
11.473 | 8.0706 | 24.3309 | 31.2636
11.768 | 8.0444 | 24.3541 | 31.2883
12.071 | 8.0179 | 24.3696 | 31.3033
12.373 | 7.9916 | 24.3857 | 31.319
12.675 | 7.9659 | 24.405 | 31.3391
12.975 | 7.9396 | 24.4217 | 31.3556
13.271 | 7.9125 | 24.4346 | 31.3672
13.563 | 7.8857 | 24.451 | 31.3833
13.855 | 7.8604 | 24.4749 | 31.4092
14.15 | 7.8361 | 24.4998 | 31.4366
14.437 | 7.8112 | 24.5164 | 31.4533
14.723 | 7.7854 | 24.5279 | 31.4633
15.005 | 7.7604 | 24.5413 | 31.4759
15.287 | 7.7365 | 24.5569 | 31.4916
15.572 | 7.7126 | 24.5716 | 31.5061
15.848 | 7.6881 | 24.5835 | 31.5168
16.121 | 7.6644 | 24.5958 | 31.5284
16.392 | 7.6446 | 24.613 | 31.5467
16.619 | 7.6298 | 24.6173 | 31.5497
16.75 | 7.5521 | 24.5187 | 31.4105

## HC
DEPTH | TEMP | DENSITY | SALINITY
0.563 | 16.4745 | 11.1766 | 16.1065
0.613 | 16.182 | 11.3065 | 16.2008
0.815 | 15.7455 | 11.5177 | 16.3661
1.098 | 15.1429 | 12.1551 | 17.0495
1.402 | 14.3809 | 13.554 | 18.6902
1.731 | 13.5402 | 15.4804 | 20.999
2.05 | 12.7304 | 17.3645 | 23.2579
2.373 | 12.0248 | 18.8819 | 25.0637
2.708 | 11.4562 | 20.007 | 26.3919
3.05 | 11.0301 | 20.7985 | 27.3205
3.386 | 10.7382 | 21.3019 | 27.9066
3.718 | 10.5707 | 21.5413 | 28.1795
4.022 | 10.5273 | 21.5256 | 28.1502
4.282 | 9.4153 | 23.4447 | 30.3867